## data
F1 |  |  | F2 | [15 empty] | F3 | [6 empty] | F5 | [44 empty] | F7 |  |  | F12
lake.id | site.id | eval.status | lat | long | trap.deply.date | trap.deply.time | trap.rtrvl.date | trap.rtrvl.time | trap.volume | trap.volume.flag | trap.extn1 | trap.extn1.notes | trap.extn2 | trap.extn2.notes | trap.extn3 | trap.extn3.notes | trap.flag | trap.comment | chamb.deply.date | chamb.deply.time | chamb.water.temp | chamb.grad.a | chamb.grad.b | chamb.flag | chamb.comment | site.depth | sample.depth.s | temp.s | do.mg.s | sp.cond.s | ph.s | chl.s | phyc.s | turb.s | temp.s.flag | do.mg.s.flag | sp.cond.s.flag | ph.s.flag | chl.s.flag | phyc.s.flag | turb.s.flag | temp.s.comment | do.mg.s.comment | sp.cond.s.comment | ph.s.comment | chl.s.comment | phyc.s.comment | turb.s.comment | sample.depth.d | temp.d | do.mg.d | sp.cond.d | ph.d | chl.d | phyc.d | turb.d | temp.d.flag | do.mg.d.flag | sp.cond.d.flag | ph.d.flag | chl.d.flag | phyc.d.flag | turb.d.flag | temp.d.comment | do.mg.d.comment | sp.cond.d.comment | ph.d.comment | chl.d.comment | phyc.d.comment | turb.d.comment | air.extn.1 | air.extn.2 | air.extn.3 | ch4.check | co2.check | ch4.co2.check.date | ch4.co2.check.start.time
146 | 4 | TS | 36.1049 | 98.5994 | 06.06.2022 | 13:00 | 06.07.2022 | 9:43 | 1 | [9 empty] | 06.06.2022 | 12:50 | 25.2 | 1 | 1 |  |  | 8.3 | 0.1 | 22.53 | 8.95 | 1735 | 8.29 | 9.8 |  | -0.7 | [6 empty] | 1 | [5 empty] | No Data collected | Post deployment calibration check failure (sonde was working correctly at CH4-146 but don't have calibration check to prove that) | 7.5 | 21.82 | 6.7 | 1734 | 8.06 | 9.9 |  | 17.1 | [6 empty] | 1 | [5 empty] | No Data Collected | Post deployment calibration check failure (sonde was working correctly at CH4-146 but don't have calibration check to prove that) | SG220221 | SG220222 | SG220223 | 2.05 | 394.36 | 06.06.2022 | 17:40
146 | 2 | TS | 36.091 | 98.5929 | 06.06.2022 | 13:23 | 06.07.2022 | 8:46 | 0 | > | [8 empty] | 06.06.2022 | 13:24 | 25.2 | 1 | 1 |  |  | 7.5 | 0.1 | 25.3 | 8.03 | 1740 | 8.24 | 0.7 |  | -18.1 | [6 empty] | 1 | [5 empty] | No Data collected | Post deployment calibration check failure (sonde was working correctly at CH4-146 but don't have calibration check to prove that) | 7 | 21.66 | 7.46 | 1736 | 8.04 | 7.4 |  | 3.8 | [6 empty] | 1 | [5 empty] | No Data Collected | Post deployment calibration check failure (sonde was working correctly at CH4-146 but don't have calibration check to prove that)
146 | 3 | TS | 36.0992 | 98.5789 | 06.06.2022 | 13:40 | 06.07.2022 | 8:55 | 3 | [9 empty] | 06.06.2022 | 13:41 | 23.7 | 1 | 1 |  |  | 7.1 | 0.1 | 24.57 | 9.9 | 1740 | 8.27 | 5.6 |  | -1.4 | [6 empty] | 1 | [5 empty] | No Data collected | Post deployment calibration check failure (sonde was working correctly at CH4-146 but don't have calibration check to prove that) | 6.4 | 21.5 | 6.57 | 1739 | 7.98 | 8.3 |  | 9.2 | [6 empty] | 1 | [5 empty] | No Data Collected | Post deployment calibration check failure (sonde was working correctly at CH4-146 but don't have calibration check to prove that)
146 | 1 | TS | 36.1089 | 98.606 | 06.06.2022 | 14:05 | 06.07.2022 | 9:10 | 13 |  | SG221121 | [7 empty] | 06.06.2022 | 14:05 | 27.2 | 1 | 1 |  |  | 7.1 | 0.1 | 27.02 | 7.88 | 1742 | 8.44 | 4.1 |  | 0.5 | [6 empty] | 1 | [5 empty] | No Data collected | Post deployment calibration check failure (sonde was working correctly at CH4-146 but don't have calibration check to prove that) | 6.5 | 22.16 | 7.78 | 1736 | 8.12 | 9.5 |  | 15 | [6 empty] | 1 | [5 empty] | No Data Collected | Post deployment calibration check failure (sonde was working correctly at CH4-146 but don't have calibration check to prove that)
146 | 20 | TS | 36.1187 | 98.5935 | 06.06.2022 | 14:17 | 06.07.2022 | 9:18 | 0 | > | [8 empty] | 06.06.2022 | 14:18 | 26.4 | 1 | 1 |  |  | 6.8 | 0.1 | 25.42 | 11.06 | 1738 | 8.42 | 6.6 |  | -0.3 | [6 empty] | 1 | [5 empty] | No Data collected | Post deployment calibration check failure (sonde was working correctly at CH4-146 but don't have calibration check to prove that) | 6 | 21.98 | 8.55 | 1737 | 8.2 | 7.8 |  | 1.9 | [6 empty] | 1 | [5 empty] | No Data Collected | Post deployment calibration check failure (sonde was working correctly at CH4-146 but don't have calibration check to prove that)
146 | 19 | TS | 36.1259 | 98.5816 | 06.06.2022 | 14:36 | 06.07.2022 | 9:27 | 0 | [9 empty] | 06.06.2022 | 14:35 | 25.9 | 1 | 1 |  |  | 1.2 | 0.1 | 24.32 | 11.88 | 1744 | 8.5 | 8 |  | -2.7 | [6 empty] | 1 | [5 empty] | No Data collected | Post deployment calibration check failure (sonde was working correctly at CH4-146 but don't have calibration check to prove that) | 1 | 22.61 | 11.29 | 1733 | 8.41 | 14.4 |  | 5.5 | [6 empty] | 1 | [5 empty] | No Data Collected | Post deployment calibration check failure (sonde was working correctly at CH4-146 but don't have calibration check to prove that)
146 | 21 | TS | 36.1297 | 98.6066 | 06.06.2022 | 14:48 | 06.07.2022 | 12:15 | 0.5 | < | [8 empty] | 06.06.2022 | 14:49 | 27.1 | 1 | 1 |  |  | 5.7 | 0.1 | 26.45 | 12.56 | 1734 | 8.56 | 6.7 |  | 0.4 | [6 empty] | 1 | [5 empty] | No Data collected | Post deployment calibration check failure (sonde was working correctly at CH4-146 but don't have calibration check to prove that) | 5 | 22.6 | 7.92 | 1737 | 8.24 | 11.5 |  | 24.4 | [6 empty] | 1 | [5 empty] | No Data Collected | Post deployment calibration check failure (sonde was working correctly at CH4-146 but don't have calibration check to prove that)
146 | 12 | TS | 36.1296 | 98.6209 | 06.06.2022 | 14:59 | 06.07.2022 | 12:25 | 0.25 | < | [8 empty] | 06.06.2022 | 15:00 | 26.8 | 1 | 1 |  |  | 4.5 | 0.1 | 22.65 | 12.28 | 1732 | 8.54 | 9.9 |  | 4.1 | [6 empty] | 1 | [5 empty] | No Data collected | Post deployment calibration check failure (sonde was working correctly at CH4-146 but don't have calibration check to prove that) | 4 | 22.62 | 8.63 | 1737 | 8.3 | 12.2 |  | 9.9 | [6 empty] | 1 | [5 empty] | No Data Collected | Post deployment calibration check failure (sonde was working correctly at CH4-146 but don't have calibration check to prove that)
146 | 13 | TS | 36.1337 | 98.6298 | 06.06.2022 | 15:11 | 06.07.2022 | 12:35 | 2 | [9 empty] | 06.06.2022 | 15:12 | 27.3 | 1 | 1 |  |  | 3.2 | 0.1 | 27 | 10.3 | 1712 | 8.53 | 8.5 |  | -2.5 | [6 empty] | 1 | [5 empty] | No Data collected | Post deployment calibration check failure (sonde was working correctly at CH4-146 but don't have calibration check to prove that) | 3 | 23.32 | 8.43 | 1733 | 8.26 | 12.1 |  | 18.3 | [6 empty] | 1 | [5 empty] | No Data Collected | Post deployment calibration check failure (sonde was working correctly at CH4-146 but don't have calibration check to prove that)
146 | 11 | TS | 36.145 | 98.6123 | 06.06.2022 | 15:34 | 06.07.2022 | 12:50 | 33.5 |  | SG220224 | [7 empty] | 06.06.2022 | 15:34 | 27.7 | 1 | 1 |  |  | 1.9 | 0.1 | 28.14 | 7.83 | 1738 | 8.44 | 3.5 |  | -15.6 | [6 empty] | 1 | [5 empty] | No Data collected | Post deployment calibration check failure (sonde was working correctly at CH4-146 but don't have calibration check to prove that) | 1.5 | 23.3 | 9.27 | 1730 | 8.3 | 3.4 |  | -15.1 | [6 empty] | 1 | [5 empty] | No Data Collected | Post deployment calibration check failure (sonde was working correctly at CH4-146 but don't have calibration check to prove that)
146 | 10 | TS | 36.1468 | 98.6076 | 06.06.2022 | 15:51 | 06.07.2022 | 13:20 | 70 |  | SG220228 |  | SG220227 | [5 empty] | 06.06.2022 | 15:51 | 27.7 | 1 | 1 |  |  | 1.1 | 0.1 | 26.24 | 11.64 | 1738 | 8.49 | 15.1 |  | 11.6 | [6 empty] | 1 | [5 empty] | No Data collected | Post deployment calibration check failure (sonde was working correctly at CH4-146 but don't have calibration check to prove that) | 1 | 23.65 | 12.92 | 1727 | 8.56 | 15 |  | 15.2 | [6 empty] | 1 | [5 empty] | No Data Collected | Post deployment calibration check failure (sonde was working correctly at CH4-146 but don't have calibration check to prove that)
146 | 28 | TS | 36.1451 | 98.6422 | 06.06.2022 | 16:10 | 06.07.2022 | 13:39 | 1 | [9 empty] | 06.06.2022 | 16:10 | 28.1 | 1 | 1 |  |  | 2.2 | 0.1 | 25.52 | 9.93 | 1726 | 8.3 | 11.4 |  | 5.4 | [6 empty] | 1 | [5 empty] | No Data collected | Post deployment calibration check failure (sonde was working correctly at CH4-146 but don't have calibration check to prove that) | 1.8 | 25.45 | 9.63 | 1724 | 8.27 | 11.2 |  | 3.6 | [6 empty] | 1 | [5 empty] | No Data Collected | Post deployment calibration check failure (sonde was working correctly at CH4-146 but don't have calibration check to prove that)
146 | 27 | TS | 36.1404 | 98.6453 | 06.06.2022 | 16:21 | 06.07.2022 | 13:51 | 4 | [9 empty] | 06.06.2022 | 16:21 | 28.1 | 1 | 1 |  |  | 1.3 | 0.1 | 25.15 | 8.75 | 1720 | 8.16 | 13 |  | 18.9 | [6 empty] | 1 | [5 empty] | No Data collected | Post deployment calibration check failure (sonde was working correctly at CH4-146 but don't have calibration check to prove that) | 1 | 25.15 | 8.64 | 1718 | 8.2 | 13.1 |  | 14.6 | [6 empty] | 1 | [5 empty] | No Data Collected | Post deployment calibration check failure (sonde was working correctly at CH4-146 but don't have calibration check to prove that)
146 | 30 | TS | 36.1412 | 98.6507 | 06.06.2022 | 16:32 | 06.07.2022 | 14:03 | 9 | [9 empty] | 06.06.2022 | 16:32 | 27.5 | 1 | 1 |  |  | 2 | 0.1 | 25.42 | 8.31 | 1712 | 8.22 | 14.6 |  | 34.2 | [6 empty] | 1 | [5 empty] | No Data collected | Post deployment calibration check failure (sonde was working correctly at CH4-146 but don't have calibration check to prove that) | 1.5 | 25.42 | 8.37 | 1712 | 8.19 | 13.9 |  | 28.9 | [6 empty] | 1 | [5 empty] | No Data Collected | Post deployment calibration check failure (sonde was working correctly at CH4-146 but don't have calibration check to prove that)
146 | 29 | TS | 36.1374 | 98.6535 | 06.06.2022 | 16:45 | 06.07.2022 | 14:14 | 1.5 | [9 empty] | 06.06.2022 | 16:45 | 27.5 | 1 | 1 |  |  | 1.3 | 0.1 | 25.11 | 8.6 | 1712 | 8.21 | 16.1 |  | 24.9 | [6 empty] | 1 | [5 empty] | No Data collected | Post deployment calibration check failure (sonde was working correctly at CH4-146 but don't have calibration check to prove that) | 1 | 25.09 | 8.2 | 1712 | 8.21 | 17.9 |  | 27.7 | [6 empty] | 1 | [5 empty] | No Data Collected | Post deployment calibration check failure (sonde was working correctly at CH4-146 but don't have calibration check to prove that)

## data.dictionary
Field | Description | Format
lake.id | unique identifier for each reservoir | numeric (no letters or dash)
site.id | unique identifier for each sampling site within a reservoir | numeric (no letters or dash)
eval.status | status of each evaluated sampling site | two digit alphabetic code: 'TS': target sampled 'NS': Target, not sampled. Site not sampled due to resource constraints (ran out of time) 'PI': Physically inaccessible
lat | sampling site latitude | 8 digit numeric (xx.xxxxxx)
long | sampling site longitude | 8 digit numeric (xx.xxxxxx)
trap.deply.date | date of trap deployment | mm.dd.yyyy
trap.deply.time | time of trap deployment | military time (hh:mm)
trap.rtrvl.date | date of trap retrieval | mm.dd.yyyy
trap.rtrvl.time | time of trap retrieval | military time (hh:mm)
trap.volume | total volume of gas recovered from trap | mL
trap.volume.flag | >' if gas was lost during sampling and total volume is an underestimate. '<' if volume was below recorded graduation (e.g. < 1mL). Otherwise blank | > or <
trap.extn1 | code for first exetainer collected from trap | eight digit alphanumeric code (SG200185)
trap.extn1.notes | field notes
trap.extn2 | code for second exetainer collected from trap | eight digit alphanumeric code (SG200185)
trap.extn2.notes | field notes
trap.extn3 | code for third exetainer collected from trap | eight digit alphanumeric code (SG200185)
trap.extn3.notes | field notes
trap.flag | 1 if there was a problem, blank if no problem. | numeric
trap.comment | any relevant comments from field sheets
chamb.deply.date | floating chamber deployment date | mm.dd.yyyy
chamb.deply.time | floating chamber deployment time | military time (hh:mm)
chamb.water.temp | if shallow sonde measurements were not made when chamber was deployed, then enter water temperature from F3, otherwise blank | numeric (celcius)
chamb.grad.a | field crew recorded chamber graduations on both ends of chamber. Enter the first value here. | numeric
chamb.grad.b | field crew recorded chamber graduations on both ends of chamber. Enter the second value here. | numeric
chamb.flag | 1 if there was a problem, blank if no problem. | numeric
chamb.comment | any relevant comments from field sheets
site.depth | total depth at sampling site | numeric (meters)
sample.depth.s | shallow sampling depth. Nearly always 0.1 | numeric (meters)
temp.s | shallow water temperature | numeric (celcius)
do.mg.s | shallow dissolved oxygen | numeric (mg/L)
sp.cond.s | shallow specific conductivity | numeric (us/cm)
ph.s | shallow pH | numeric
chl.s | shallow chlorophyll | numeric (ug/L)
phyc.s | shallow phycocyanin | numeric (ug/L)
turb.s | shallow turbidity | numeric (NTU)
temp.s.flag | shallow water temperature flag. 1 if there was a problem, blank if no problem.
do.mg.s.flag | shallow dissolved oxygen flag. 1 if there was a problem, blank if no problem.
sp.cond.s.flag | shallow specific conductivity flag. 1 if there was a problem, blank if no problem.
ph.s.flag | shallow pH flag. 1 if there was a problem, blank if no problem.
chl.s.flag | shallow chlorophyll flag. 1 if there was a problem, blank if no problem.
phyc.s.flag | shallow phycocyanin flag. 1 if there was a problem, blank if no problem.
turb.s.flag | shallow turbidity flag. 1 if there was a problem, blank if no problem.
temp.s.comment | any relevant comments from field and/or calibration data sheets
do.mg.s.comment | any relevant comments from field and/or calibration data sheets
sp.cond.s.comment | any relevant comments from field and/or calibration data sheets
ph.s.comment | any relevant comments from field and/or calibration data sheets
chl.s.comment | any relevant comments from field and/or calibration data sheets
phyc.s.comment | any relevant comments from field and/or calibration data sheets
turb.s.comment | any relevant comments from field and/or calibration data sheets
sample.depth.d | deep sampling depth. | numeric (meters)
temp.d | deep water temperature | numeric (celcius)
do.mg.d | deep dissolved oxygen | numeric (mg/L)
sp.cond.d | deep specific conductivity | numeric (us/cm)
ph.d | deep pH | numeric
chl.d | deep chlorophyll | numeric (ug/L)
phyc.d | deep phycocyanin | numeric (ug/L)
turb.d | deep turbidity | numeric (NTU)
temp.d.flag | deep water temperature flag. 1 if there was a problem, blank if no problem.
do.mg.d.flag | deep dissolved oxygen flag. 1 if there was a problem, blank if no problem.
sp.cond.d.flag | deep specific conductivity flag. 1 if there was a problem, blank if no problem.
ph.d.flag | deep pH flag. 1 if there was a problem, blank if no problem.
chl.d.flag | deep chlorophyll flag. 1 if there was a problem, blank if no problem.
phyc.d.flag | deep phycocyanin flag. 1 if there was a problem, blank if no problem.
turb.d.flag | deep turbidity flag. 1 if there was a problem, blank if no problem.
temp.d.comment | any relevant comments from field and/or calibration data sheets
do.mg.d.comment | any relevant comments from field and/or calibration data sheets
sp.cond.d.comment | any relevant comments from field and/or calibration data sheets
ph.d.comment | any relevant comments from field and/or calibration data sheets
chl.d.comment | any relevant comments from field and/or calibration data sheets
phyc.d.comment | any relevant comments from field and/or calibration data sheets
turb.d.comment | any relevant comments from field and/or calibration data sheets
air.extn.1 | code for first air exetainer | eight digit alphanumeric code (SG200185)
air.extn.2 | code for second air exetainer | eight digit alphanumeric code (SG200185)
air.extn.3 | code for third air exetainer | eight digit alphanumeric code (SG200185)
ch4.check | ch4 concentration recorded after standard flow through analyzer for 1 minute. First cal check entered in first row. Additional cal checks entered in subsequent rows (only one row populated per cal check) | numeric
co2.check | co2 concentration recorded after standard flow through analyzer for 1 minute. First cal check entered in first row. Additional cal checks entered in subsequent rows (only one row populated per cal check) | numeric
ch4.co2.check.date | date of greenhouse gas analyzer cal check | mm.dd.yyyy
ch4.co2.check.start.time | time greenhouse gas analyzer cal check started | military time (hh:mm)

## dissolved.gas
F12
lake.id | site.id | sample.depth.m | dg.extn | dg.extn.temp | dg.notes | water.vol | air.vol | atm.pressure | air.temperature
146 | SU-04 | 0.1 | SG220217 | 25.3 |  | 25 | 115 | 711.28 | 27.3
146 | SU-04 | 0.1 | SG220218 | 25.3 |  | 25 | 115 | 711.28 | 27.3
146 | SU-04 | 0.1 | SG220220 | 25.3 |  | 25 | 115 | 711.28 | 27.3
146 | SU-04 | 7 | SG220225 | 23.2 |  | 25 | 115 | 711.28 | 27.3
146 | SU-04 | 7 | SG220226 | 23.2 |  | 25 | 115 | 711.28 | 27.3
146 | SU-04 | 7 | SG220234 | 23.2 |  | 25 | 115 | 711.28 | 27.3

## dissolved.gas.dictionay
Field | Description | Format
lake.id | unique identifier for each reservoir | three digit numeric code
site.id | unique identifier for each sampling site within a reservoir | one or two letters, dash, two numeric digits (i.e. SU-12)
sample.depth.m | dissolved gas sampling depth | numeric (m)
dg.extn | dissolved gas exetainer code | eight digit alphanumeric code (SG200185)
dg.extn.temp | headspace equilibration temperature | numeric (celcius)
dg.notes | field notes
water.vol | water volume for headspace equilibration. 115 unless stated otherwise | numeric (mL)
air.vol | air volume for headspace equilibration. 25 unless stated otherwise | numeric (mL)
atm.pressure | atmospheric pressure | numeric (mm Hg)
air.temperature | air temperature | numeric (celcius)