## data
F1 |  |  | F2 | [15 empty] | F3 | [6 empty] | F5 | [44 empty] | F7 |  |  | F12
lake.id | site.id | eval.status | lat | long | trap.deply.date | trap.deply.time | trap.rtrvl.date | trap.rtrvl.time | trap.volume | trap.volume.flag | trap.extn1 | trap.extn1.notes | trap.extn2 | trap.extn2.notes | trap.extn3 | trap.extn3.notes | trap.flag | trap.comment | chamb.deply.date | chamb.deply.time | chamb.water.temp | chamb.grad.a | chamb.grad.b | chamb.flag | chamb.comment | site.depth | sample.depth.s | temp.s | do.mg.s | sp.cond.s | ph.s | chl.s | phyc.s | turb.s | temp.s.flag | do.mg.s.flag | sp.cond.s.flag | ph.s.flag | chl.s.flag | phyc.s.flag | turb.s.flag | temp.s.comment | do.mg.s.comment | sp.cond.s.comment | ph.s.comment | chl.s.comment | phyc.s.comment | turb.s.comment | sample.depth.d | temp.d | do.mg.d | sp.cond.d | ph.d | chl.d | phyc.d | turb.d | temp.d.flag | do.mg.d.flag | sp.cond.d.flag | ph.d.flag | chl.d.flag | phyc.d.flag | turb.d.flag | temp.d.comment | do.mg.d.comment | sp.cond.d.comment | ph.d.comment | chl.d.comment | phyc.d.comment | turb.d.comment | air.extn.1 | air.extn.2 | air.extn.3 | ch4.check | co2.check | ch4.co2.check.date | ch4.co2.check.start.time
206 | U-2 | TS | 39.1678 | 94.7762 | 07.25.2022 | 16:50 | 07.26.2022 | 11:08 | 12 |  | SG221133 | [7 empty] | 07.26.2022 | 12:01 | 27.61 | 1 | 1 |  |  | 16.4 | 0.1 | 27.61 | 6.58 | 477.9 | 8.22 | 19.72 |  | 3 | [14 empty] | 15.4 | 12.68 | 0 | 548.9 | 7.03 | 3.85 |  | 1.2 | [14 empty] | SG220121 | SG220120 | SG220119 | 1.7424 | 405.86 | 07.26.2022 | 15:36
206 | U-5 | TS | 39.1708 | 94.7763 | 07.25.2022 | 16:58 | 07.26.2022 | 12:07 | 3 | [9 empty] | 07.26.2022 | 12:14 | 27.75 | 1 | 1 |  |  | 9.5 | 0.1 | 27.75 | 6.48 | 476.8 | 8.17 | 18.43 |  | 2.9 | [14 empty] | 8.5 | 16.76 | 0 | 517.3 | 7.41 | 3.68 |  | 2.2
206 | U-1 | TS | 39.1709 | 94.7776 | 07.25.2022 | 17:03 | 07.26.2022 | 12:20 | 10 | [9 empty] | 07.26.2022 | 12:26 | 27.47 | 1 | 1 |  |  | 8.2 | 0.1 | 27.47 | 6.67 | 476.4 | 8.11 | 19.82 |  | 3.3 | [14 empty] | 7.2 | 18.33 | 0.31 | 507.8 | 7.46 | 5.19 |  | 3.4
206 | U-14 | TS | 39.1695 | 94.7821 | 07.25.2022 | 16:23 | 07.26.2022 | 12:35 | 18 |  | SG221117 | [7 empty] | 07.26.2022 | 12:40 | 27.86 | 1 | 1 |  |  | 4.8 | 0.1 | 27.86 | 6.46 | 474.8 | 8.15 | 18.61 |  | 3.5 | [14 empty] | 3.8 | 27.91 | 5.9 | 471.1 | 8.14 | 18.31 |  | 5.8
206 | U-9 | TS | 39.1688 | 94.7795 | 07.25.2022 | 16:31 | 07.26.2022 | 12:46 | 19 |  | SG221120 | [7 empty] | 07.26.2022 | 12:50 | 27.95 | 1 | 1 |  |  | 13.9 | 0.1 | 27.95 | 6.64 | 475 | 8.21 | 16.41 |  | 2.6 | [14 empty] | 12.9 | 13.24 | 0 | 538.4 | 7.29 | 3.74 |  | 2.3
206 | U-13 | TS | 39.1679 | 94.7779 | 07.25.2022 | 16:40 | 07.26.2022 | 12:55 | 19 |  | SG221127 | [7 empty] | 07.26.2022 | 12:59 | 27.83 | 1 | 1 |  |  | 15.6 | 0.1 | 27.83 | 6.73 | 474.1 | 8.14 | 17.35 |  | 2.6 | [14 empty] | 14.6 | 12.87 | 0 | 544.8 | 7.2 | 3.82 |  | 2.1
206 | U-10 | TS | 39.166 | 94.7817 | 07.25.2022 | 16:15 | 07.26.2022 | 13:03 | 17 |  | SG221131 | [7 empty] | 07.26.2022 | 13:08 | 27.55 | 1 | 1 |  |  | 12.7 | 0.1 | 27.55 | 6.58 | 476.6 | 8.16 | 18.08 |  | 2.6 | [14 empty] | 11.7 | 13.52 | 0 | 536.1 | 7.26 | 3.09 |  | 1.9
206 | U-6 | TS | 39.164 | 94.7794 | 07.25.2022 | 15:46 | 07.26.2022 | 13:11 | 0 | [9 empty] | 07.26.2022 | 13:18 | 27.83 | 1 | 1 |  |  | 6.3 | 0.1 | 27.83 | 6.39 | 476.4 | 8.14 | 18.67 |  | 3.2 | [14 empty] | 5.3 | 26.33 | 0.55 | 484.8 | 7.63 | 13.11 |  | 7.52
206 | U-4 | TS | 39.1627 | 94.7796 | 07.25.2022 | 15:24 | 07.26.2022 | 13:25 | 31 |  | SG220118 | [7 empty] | 07.26.2022 | 13:30 | 28.14 | 1 | 1 |  |  | 11.7 | 0.1 | 28.14 | 6.45 | 475.3 | 8.05 | 21.05 |  | 3.8 | [14 empty] | 10.7 | 14.33 | 0 | 534.5 | 7.19 | 3.59 |  | 1.8
206 | U-3 | TS | 39.1625 | 94.7834 | 07.25.2022 | 15:20 | 07.26.2022 | 13:37 | 28 |  | SG220117 | [7 empty] | 07.26.2022 | 13:44 | 27.96 | 1 | 1 |  |  | 12.5 | 0.1 | 27.96 | 6.9 | 475.6 | 8.23 | 22.16 |  | 2.9 | [14 empty] | 11.5 | 14.21 | 0 | 537.1 | 7.37 | 3.5 |  | 2.1
206 | U-7 | TS | 39.1614 | 94.7862 | 07.25.2022 | 14:34 | 07.26.2022 | 14:17 | 31 |  | SG220116 | [7 empty] | 07.26.2022 | 14:23 | 28.14 | 1 | 1 |  |  | 10.7 | 0.1 | 28.14 | 7.04 | 474.9 | 8.14 | 16.59 |  | 3.4 | [14 empty] | 9.7 | 15.07 | 0 | 532.1 | 7.36 | 4.51 |  | 3.8
206 | U-11 | TS | 39.1605 | 94.7863 | 07.25.2022 | 14:42 | 07.26.2022 | 14:28 | 28 |  | SG220115 | [7 empty] | 07.26.2022 | 14:34 | 28.01 | 1 | 1 |  |  | 10.3 | 0.1 | 28.01 | 7.13 | 473.9 | 8.21 | 18.98 |  | 3.6 | [14 empty] | 9.3 | 15.93 | 0 | 527.8 | 7.43 | 5.28 |  | 7.9
206 | U-12 | TS | 39.1598 | 94.7907 | 07.25.2022 | 14:55 | 07.26.2022 | 14:41 | 9 | [9 empty] | 07.26.2022 | 14:44 | 28.23 | 1 | 1 |  |  | 6.1 | 0.1 | 28.23 | 7.42 | 474.3 | 8.32 | 23.78 |  | 3.2 | [14 empty] | 5.1 | 26.77 | 3.4 | 478.2 | 7.72 | 12.14 |  | 5.8
206 | U-15 | TS | 39.1556 | 94.7876 | 07.25.2022 | 15:10 | 07.26.2022 | 14:53 | 33 |  | SG220114 | [7 empty] | 07.26.2022 | 14:58 | 28.31 | 1 | 1 |  |  | 5.4 | 0.1 | 28.31 | 7.44 | 474.6 | 8.29 | 34.95 |  | 4 | [14 empty] | 4.4 | 27.98 | 6.51 | 470.9 | 8.21 | 22.3 |  | 6.7
206 | U-16 | TS | 39.151 | 94.7879 | 07.25.2022 | 15:58 | 07.26.2022 | 15:08 | 228 |  | SG220111 |  | SG220112 |  | SG220113 |  | 1 | Trap sitting on bottom at retrieval | 07.26.2022 | 15:13 | 27.93 | 1 | 1 |  |  | 0.6 | 0.1 | 27.93 | 7.98 | 477.1 | 8.3 | 31.14 |  | 18.8 | [7 empty] | Data Sheet has siteID written as 17 and not 16. This is the only time this was done on any of the data sheets. | Data Sheet has siteID written as 17 and not 16. This is the only time this was done on any of the data sheets. | Data Sheet has siteID written as 17 and not 16. This is the only time this was done on any of the data sheets. | Data Sheet has siteID written as 17 and not 16. This is the only time this was done on any of the data sheets. | Data Sheet has siteID written as 17 and not 16. This is the only time this was done on any of the data sheets. | Data Sheet has siteID written as 17 and not 16. This is the only time this was done on any of the data sheets.
206 | U-8 | PI

## data.dictionary
Field | Description | Format
lake.id | unique identifier for each reservoir | numeric (no letters or dash)
site.id | unique identifier for each sampling site within a reservoir | numeric (no letters or dash)
eval.status | status of each evaluated sampling site | two digit alphabetic code: 'TS': target sampled 'NS': Target, not sampled. Site not sampled due to resource constraints (ran out of time) 'PI': Physically inaccessible
lat | sampling site latitude | 8 digit numeric (xx.xxxxxx)
long | sampling site longitude | 8 digit numeric (xx.xxxxxx)
trap.deply.date | date of trap deployment | mm.dd.yyyy
trap.deply.time | time of trap deployment | military time (hh:mm)
trap.rtrvl.date | date of trap retrieval | mm.dd.yyyy
trap.rtrvl.time | time of trap retrieval | military time (hh:mm)
trap.volume | total volume of gas recovered from trap | mL
trap.volume.flag | >' if gas was lost during sampling and total volume is an underestimate. '<' if volume was below recorded graduation (e.g. < 1mL). Otherwise blank | > or <
trap.extn1 | code for first exetainer collected from trap | eight digit alphanumeric code (SG200185)
trap.extn1.notes | field notes
trap.extn2 | code for second exetainer collected from trap | eight digit alphanumeric code (SG200185)
trap.extn2.notes | field notes
trap.extn3 | code for third exetainer collected from trap | eight digit alphanumeric code (SG200185)
trap.extn3.notes | field notes
trap.flag | 1 if there was a problem, blank if no problem. | numeric
trap.comment | any relevant comments from field sheets
chamb.deply.date | floating chamber deployment date | mm.dd.yyyy
chamb.deply.time | floating chamber deployment time | military time (hh:mm)
chamb.water.temp | if shallow sonde measurements were not made when chamber was deployed, then enter water temperature from F3, otherwise blank | numeric (celcius)
chamb.grad.a | field crew recorded chamber graduations on both ends of chamber. Enter the first value here. | numeric
chamb.grad.b | field crew recorded chamber graduations on both ends of chamber. Enter the second value here. | numeric
chamb.flag | 1 if there was a problem, blank if no problem. | numeric
chamb.comment | any relevant comments from field sheets
site.depth | total depth at sampling site | numeric (meters)
sample.depth.s | shallow sampling depth. Nearly always 0.1 | numeric (meters)
temp.s | shallow water temperature | numeric (celcius)
do.mg.s | shallow dissolved oxygen | numeric (mg/L)
sp.cond.s | shallow specific conductivity | numeric (us/cm)
ph.s | shallow pH | numeric
chl.s | shallow chlorophyll | numeric (ug/L)
phyc.s | shallow phycocyanin | numeric (ug/L)
turb.s | shallow turbidity | numeric (NTU)
temp.s.flag | shallow water temperature flag. 1 if there was a problem, blank if no problem.
do.mg.s.flag | shallow dissolved oxygen flag. 1 if there was a problem, blank if no problem.
sp.cond.s.flag | shallow specific conductivity flag. 1 if there was a problem, blank if no problem.
ph.s.flag | shallow pH flag. 1 if there was a problem, blank if no problem.
chl.s.flag | shallow chlorophyll flag. 1 if there was a problem, blank if no problem.
phyc.s.flag | shallow phycocyanin flag. 1 if there was a problem, blank if no problem.
turb.s.flag | shallow turbidity flag. 1 if there was a problem, blank if no problem.
temp.s.comment | any relevant comments from field and/or calibration data sheets
do.mg.s.comment | any relevant comments from field and/or calibration data sheets
sp.cond.s.comment | any relevant comments from field and/or calibration data sheets
ph.s.comment | any relevant comments from field and/or calibration data sheets
chl.s.comment | any relevant comments from field and/or calibration data sheets
phyc.s.comment | any relevant comments from field and/or calibration data sheets
turb.s.comment | any relevant comments from field and/or calibration data sheets
sample.depth.d | deep sampling depth. | numeric (meters)
temp.d | deep water temperature | numeric (celcius)
do.mg.d | deep dissolved oxygen | numeric (mg/L)
sp.cond.d | deep specific conductivity | numeric (us/cm)
ph.d | deep pH | numeric
chl.d | deep chlorophyll | numeric (ug/L)
phyc.d | deep phycocyanin | numeric (ug/L)
turb.d | deep turbidity | numeric (NTU)
temp.d.flag | deep water temperature flag. 1 if there was a problem, blank if no problem.
do.mg.d.flag | deep dissolved oxygen flag. 1 if there was a problem, blank if no problem.
sp.cond.d.flag | deep specific conductivity flag. 1 if there was a problem, blank if no problem.
ph.d.flag | deep pH flag. 1 if there was a problem, blank if no problem.
chl.d.flag | deep chlorophyll flag. 1 if there was a problem, blank if no problem.
phyc.d.flag | deep phycocyanin flag. 1 if there was a problem, blank if no problem.
turb.d.flag | deep turbidity flag. 1 if there was a problem, blank if no problem.
temp.d.comment | any relevant comments from field and/or calibration data sheets
do.mg.d.comment | any relevant comments from field and/or calibration data sheets
sp.cond.d.comment | any relevant comments from field and/or calibration data sheets
ph.d.comment | any relevant comments from field and/or calibration data sheets
chl.d.comment | any relevant comments from field and/or calibration data sheets
phyc.d.comment | any relevant comments from field and/or calibration data sheets
turb.d.comment | any relevant comments from field and/or calibration data sheets
air.extn.1 | code for first air exetainer | eight digit alphanumeric code (SG200185)
air.extn.2 | code for second air exetainer | eight digit alphanumeric code (SG200185)
air.extn.3 | code for third air exetainer | eight digit alphanumeric code (SG200185)
ch4.check | ch4 concentration recorded after standard flow through analyzer for 1 minute. First cal check entered in first row. Additional cal checks entered in subsequent rows (only one row populated per cal check) | numeric
co2.check | co2 concentration recorded after standard flow through analyzer for 1 minute. First cal check entered in first row. Additional cal checks entered in subsequent rows (only one row populated per cal check) | numeric
ch4.co2.check.date | date of greenhouse gas analyzer cal check | mm.dd.yyyy
ch4.co2.check.start.time | time greenhouse gas analyzer cal check started | military time (hh:mm)

## dissolved.gas
F12
lake.id | site.id | sample.depth.m | dg.extn | dg.extn.temp | dg.notes | water.vol | air.vol | atm.pressure | air.temperature
206 | U-2 | 0.1 | SG220125 | 28.6 |  | 115 | 25 | 737.2 | 21.9
206 | U-2 | 0.1 | SG220126 | 28.6 |  | 115 | 25 | 737.2 | 21.9
206 | U-2 | 0.1 | SG220127 | 28.6 |  | 115 | 25 | 737.2 | 21.9
206 | U-2 | 15 | SG220124 | 13.6 |  | 115 | 25 | 737.2 | 21.9
206 | U-2 | 15 | SG220123 | 13.6 |  | 115 | 25 | 737.2 | 21.9
206 | U-2 | 15 | SG220122 | 13.6 |  | 115 | 25 | 737.2 | 21.9

## dissolved.gas.dictionay
Field | Description | Format
lake.id | unique identifier for each reservoir | three digit numeric code
site.id | unique identifier for each sampling site within a reservoir | one or two letters, dash, two numeric digits (i.e. SU-12)
sample.depth.m | dissolved gas sampling depth | numeric (m)
dg.extn | dissolved gas exetainer code | eight digit alphanumeric code (SG200185)
dg.extn.temp | headspace equilibration temperature | numeric (celcius)
dg.notes | field notes
water.vol | water volume for headspace equilibration. 115 unless stated otherwise | numeric (mL)
air.vol | air volume for headspace equilibration. 25 unless stated otherwise | numeric (mL)
atm.pressure | atmospheric pressure | numeric (mm Hg)