## data
lakeID | siteID | sample.depth.m | temp.C | do.mg.l | sp.cond.us.cm | pH | chl.a.ug.l | turbidity.ntu | do.flag | cond.flag | pH.flag | chla.flag | turbidity.flag | do.comment | cond.comment | pH.comment | chla.comment | turbidity.comment
78 | U-29 | 0.1 | 27 | 15.04 | 3666 | 9.5 | 10.8 | -1.1 |  |  |  |  | 1 |  |  |  |  | Turbitity probe acting funny
78 | U-29 | 1 | 26.17 | 15.08 | 3665 | 9.5 | 13.9 | 0.2
78 | U-29 | 2 | 24.78 | 15.23 | 3660 | 9.49 | 39 | 1.2
78 | U-29 | 3 | 23.84 | 1.17 | 3660 | 9.1 | 65.7 | 4.1
78 | U-29 | 3.33 | 23.78 | 0.64 | 3650 | 9.07 | 10.4 | 0.3

## data.dictionary
lakeID | three digit numeric code '235'
siteID | one or two letters, dash, two digit numeric code 'SU-08'
sample.depth.m | measurement depth in meters
temp.C | water temperature in celsius
do.mg.l | dissolved oxygen in mg/L
sp.cond.us.cm | specific conductivity in us/cm
pH | pH
chl.a.ug.l | chlorophyll a in ug/L
turbidity.ntu | turbidity in NTU
do.flag | if no problem, blank, else '1'
cond.flag | if no problem, blank, else '1'
pH.flag | if no problem, blank, else '1'
chla.flag | if no problem, blank, else '1'
turbidity.flag | if no problem, blank, else '1'
do.comment | if no problem, blank, else explanatory comment 'failed post-deployment cal check'
cond.comment | if no problem, blank, else explanatory comment 'failed post-deployment cal check'
pH.comment | if no problem, blank, else explanatory comment 'failed post-deployment cal check'
chla.comment | if no problem, blank, else explanatory comment 'failed post-deployment cal check'
turbidity.comment | if no problem, blank, else explanatory comment 'failed post-deployment cal check'