## data
lakeID | siteID | sample.depth.m | temp.C | do.mg.l | sp.cond.us.cm | pH | chl.a.ug.l | turbidity.ntu | do.flag | cond.flag | pH.flag | chla.flag | turbidity.flag | do.comment | cond.comment | pH.comment | chla.comment | turbidity.comment
233 | S-18 | 0.1 | 19.02 | 9.55 | 278 | 8.57 | 4.2 | 0 |  |  |  |  | 1 |  |  |  |  | Suspected turbidity probe failure
233 | S-18 | 1 | 18.05 | 9.63 | 278 | 8.56 | 8.5 | 0 |  |  |  |  | 1 |  |  |  |  | Suspected turbidity probe failure
233 | S-18 | 2 | 17.32 | 8.25 | 280 | 8.33 | 7.2 | 0 |  |  |  |  | 1 |  |  |  |  | Suspected turbidity probe failure
233 | S-18 | 3 | 17.01 | 6.68 | 282 | 8.06 | 5.9 | 0 |  |  |  |  | 1 |  |  |  |  | Suspected turbidity probe failure
233 | S-18 | 4 | 16.67 | 4.78 | 283 | 7.88 | 3.5 | 0 |  |  |  |  | 1 |  |  |  |  | Suspected turbidity probe failure
233 | S-18 | 5 | 16.1 | 3.77 | 283 | 7.61 | 2.6 | 3 |  |  |  |  | 1 |  |  |  |  | Suspected turbidity probe failure
233 | S-18 | 6 | 14.84 | 1.02 | 287 | 7.39 | 2 | 0 |  |  |  |  | 1 |  |  |  |  | Suspected turbidity probe failure
233 | S-18 | 6.9 | 14.65 | 0.75 | 288 | 7.24 | 2.2 | 0 |  |  |  |  | 1 |  |  |  |  | Suspected turbidity probe failure

## data.dictionary
lakeID | three digit numeric code '235'
siteID | one or two letters, dash, two digit numeric code 'SU-08'
sample.depth.m | measurement depth in meters
temp.C | water temperature in celsius
do.mg.l | dissolved oxygen in mg/L
sp.cond.us.cm | specific conductivity in us/cm
pH | pH
chl.a.ug.l | chlorophyll a in ug/L
turbidity.ntu | turbidity in NTU
do.flag | if no problem, blank, else '1'
cond.flag | if no problem, blank, else '1'
pH.flag | if no problem, blank, else '1'
chla.flag | if no problem, blank, else '1'
turbidity.flag | if no problem, blank, else '1'
do.comment | if no problem, blank, else explanatory comment 'failed post-deployment cal check'
cond.comment | if no problem, blank, else explanatory comment 'failed post-deployment cal check'
pH.comment | if no problem, blank, else explanatory comment 'failed post-deployment cal check'
chla.comment | if no problem, blank, else explanatory comment 'failed post-deployment cal check'
turbidity.comment | if no problem, blank, else explanatory comment 'failed post-deployment cal check'