## data
lakeID | siteID | sample.depth.m | temp.C | do.mg.l | sp.cond.us.cm | pH | chl.a.ug.l | phyc.ug.l | turbidity.ntu | do.flag | cond.flag | pH.flag | chla.flag | turbidity.flag | do.comment | cond.comment | pH.comment | chla.comment | turbidity.comment
250 | U-3 | 0.1 | 17.8 | 9.64 | 167 | 8.71 | -1.56 | 1.22 | 0.31
250 | U-3 | 1 | 17.61 | 9.74 | 166.6 | 8.71 | -1.62 | 1.18 | 0.33
250 | U-3 | 2 | 17.43 | 9.78 | 166.5 | 8.73 | -1.53 | 1.18 | 0.35
250 | U-3 | 3 | 17.36 | 9.79 | 166.5 | 8.74 | -1.49 | 1.19 | 0.37
250 | U-3 | 4 | 17.28 | 9.92 | 166 | 8.77 | -1.44 | 1.2 | 0.33
250 | U-3 | 5 | 17.25 | 9.86 | 166.2 | 8.76 | -1.27 | 1.17 | 0.34
250 | U-3 | 6 | 17.23 | 9.77 | 166.4 | 8.73 | -1.27 | 1.16 | 0.37
250 | U-3 | 7 | 17.15 | 9.78 | 166.6 | 8.73 | -1.3 | 1.18 | 0.32
250 | U-3 | 8 | 16.97 | 9.92 | 167.4 | 8.7 | -1.13 | 1.19 | 0.4
250 | U-3 | 9 | 16.42 | 9.86 | 171.4 | 8.58 | -0.9 | 1.18 | 0.45

## data.dictionary
lakeID | three digit numeric code '235'
siteID | one or two letters, dash, two digit numeric code 'SU-08'
sample.depth.m | measurement depth in meters
temp.C | water temperature in celsius
do.mg.l | dissolved oxygen in mg/L
sp.cond.us.cm | specific conductivity in us/cm
pH | pH
chl.a.ug.l | chlorophyll a in ug/L
turbidity.ntu | turbidity in NTU
do.flag | if no problem, blank, else '1'
cond.flag | if no problem, blank, else '1'
pH.flag | if no problem, blank, else '1'
chla.flag | if no problem, blank, else '1'
turbidity.flag | if no problem, blank, else '1'
do.comment | if no problem, blank, else explanatory comment 'failed post-deployment cal check'
cond.comment | if no problem, blank, else explanatory comment 'failed post-deployment cal check'
pH.comment | if no problem, blank, else explanatory comment 'failed post-deployment cal check'
chla.comment | if no problem, blank, else explanatory comment 'failed post-deployment cal check'
turbidity.comment | if no problem, blank, else explanatory comment 'failed post-deployment cal check'