## data
lakeID | siteID | sample.depth.m | temp.C | do.mg.l | sp.cond.us.cm | pH | chl.a.ug.l | phyc.ug.l | turbidity.ntu | do.flag | cond.flag | pH.flag | chla.flag | phyc.flag | turbidity.flag | do.comment | cond.comment | pH.comment | chla.comment | phyc.comment | turbidity.comment
1000 | S-03 | 0.1 | 29.92 | 5.8 | 0.271 | 20.51 | 5.2 |  | -6.2 |  |  | 1 |  |  | 1 |  |  | Unusually high values |  |  | Possibly damaged sensor
1000 | S-03 | 1.6 | 29.14 | 4.13 | 0.28 | 20.51 | 5.2 |  | 14.9 |  |  | 1 |  |  | 1
1000 | S-03 | 2.6 | 28.93 | 2.41 | 0.279 | 20.4 | 4 |  | -2.8 |  |  | 1 |  |  | 1
1000 | S-03 | 3.6 | 28.91 | 1.4 | 0.279 | 20.28 | 23.5 |  | 68.7 |  |  | 1 |  |  | 1
1000 | S-03 | 4.6 | 28.84 | 0.65 | 0.277 | 20.27 | 21.3 |  | 35.1 |  |  | 1 |  |  | 1
1000 | S-03 | 5.6 | 28.55 | 0.39 | 0.309 | 20.19 | 14.2 |  | 0.2 |  |  | 1 |  |  | 1
1000 | S-03 | 6.6 | 28.03 | 0.3 | 0.309 | 20.3 | 11.8 |  | -7.1 |  |  | 1 |  |  | 1
1000 | S-03 | 7.6 | 27.64 | 0.28 | 0.306 | 20.34 | 10.4 |  | -7.1 |  |  | 1 |  |  | 1
1000 | S-03 | 8.6 | 27.23 | 0.26 | 0.356 | 20.36 | 10.9 |  | -7.1 |  |  | 1 |  |  | 1
1000 | S-03 | 9.6 | 26.56 | 0.26 | 0.4 | 20.44 | 11 |  | -7 |  |  | 1 |  |  | 1
1000 | S-03 | 10.6 | 26.25 | 0.24 | 0.42 | 20.45 | 10.2 |  | -7 |  |  | 1 |  |  | 1
1000 | S-03 | 11.6 | 26.03 | 0.24 | 0.435 | 20.5 | 10.3 |  | -7.1 |  |  | 1 |  |  | 1
1000 | S-03 | 12.6 | 25.91 | 0.23 | 0.447 | 20.35 | 11.3 |  | -7 |  |  | 1 |  |  | 1

## data.dictionary
lakeID | three digit numeric code '235'
siteID | one or two letters, dash, two digit numeric code 'SU-08'
sample.depth.m | measurement depth in meters
temp.C | water temperature in celsius
do.mg.l | dissolved oxygen in mg/L
sp.cond.us.cm | specific conductivity in us/cm
pH | pH
chl.a.ug.l | chlorophyll a in ug/L
phyc.ug.l | phycocyanin in ug/L
turbidity.ntu | turbidity in NTU
do.flag | if no problem, blank, else '1'
cond.flag | if no problem, blank, else '1'
pH.flag | if no problem, blank, else '1'
chla.flag | if no problem, blank, else '1'
phyc.flag | if no problem, blank, else '1'
turbidity.flag | if no problem, blank, else '1'
do.comment | if no problem, blank, else explanatory comment 'failed post-deployment cal check'
cond.comment | if no problem, blank, else explanatory comment 'failed post-deployment cal check'
pH.comment | if no problem, blank, else explanatory comment 'failed post-deployment cal check'
chla.comment | if no problem, blank, else explanatory comment 'failed post-deployment cal check'
phyc.comment | if no problem, blank, else explanatory comment 'failed post-deployment cal check'
turbidity.comment | if no problem, blank, else explanatory comment 'failed post-deployment cal check'