## data
lakeID | siteID | sample.depth.m | temp.C | do.mg.l | sp.cond.us.cm | pH | chl.a.ug.l | phyc.ug.l | turbidity.ntu | do.flag | cond.flag | pH.flag | chla.flag | phyc.flag | turbidity.flag | do.comment | cond.comment | pH.comment | chla.comment | phyc.comment | turbidity.comment
302 | SU-10 | 0.1 | 20.5 | 10.4 | 390 | 8.5 |  |  | 2.8 | 1 |  |  | 1 |  |  | Horibia instrument was used as YSI was "lost". DO was not calibrated on 08/10/18. DO was calibrated on Horibia on 08/11/18 and DO measurements were retaken. Data on this sheet is from 8/11/18 |  |  | YSI instrument was "lost" and Horibia instrument could not run Chla.
302 | SU-10 | 1 | 20.4 | 11.1 | 385 | 8.5 |  |  | 2.5 | 1 |  |  | 1 |  |  | Horibia instrument was used as YSI was "lost". DO was not calibrated on 08/10/18. DO was calibrated on Horibia on 08/11/18 and DO measurements were retaken. Data on this sheet is from 8/11/18 |  |  | YSI instrument was "lost" and Horibia instrument could not run Chla.
302 | SU-10 | 2 | 20 | 12.3 | 385 | 8.5 |  |  | 2.6 | 1 |  |  | 1 |  |  | Horibia instrument was used as YSI was "lost". DO was not calibrated on 08/10/18. DO was calibrated on Horibia on 08/11/18 and DO measurements were retaken. Data on this sheet is from 8/11/18 |  |  | YSI instrument was "lost" and Horibia instrument could not run Chla.
302 | SU-10 | 3 | 19.4 | 13.6 | 386 | 8.4 |  |  | 3.1 | 1 |  |  | 1 |  |  | Horibia instrument was used as YSI was "lost". DO was not calibrated on 08/10/18. DO was calibrated on Horibia on 08/11/18 and DO measurements were retaken. Data on this sheet is from 8/11/18 |  |  | YSI instrument was "lost" and Horibia instrument could not run Chla.
302 | SU-10 | 4 | 19.3 | 16.3 | 387 | 8 |  |  | 3.1 | 1 |  |  | 1 |  |  | Horibia instrument was used as YSI was "lost". DO was not calibrated on 08/10/18. DO was calibrated on Horibia on 08/11/18 and DO measurements were retaken. Data on this sheet is from 8/11/18 |  |  | YSI instrument was "lost" and Horibia instrument could not run Chla.
302 | SU-10 | 5 | 19.3 | 17.4 | 387 | 8 |  |  | 2.8 | 1 |  |  | 1 |  |  | Horibia instrument was used as YSI was "lost". DO was not calibrated on 08/10/18. DO was calibrated on Horibia on 08/11/18 and DO measurements were retaken. Data on this sheet is from 8/11/18 |  |  | YSI instrument was "lost" and Horibia instrument could not run Chla.
302 | SU-10 | 6 | 19.3 | 18.5 | 387 | 7.9 |  |  | 2.5 | 1 |  |  | 1 |  |  | Horibia instrument was used as YSI was "lost". DO was not calibrated on 08/10/18. DO was calibrated on Horibia on 08/11/18 and DO measurements were retaken. Data on this sheet is from 8/11/18 |  |  | YSI instrument was "lost" and Horibia instrument could not run Chla.
302 | SU-10 | 7 | 19.2 | 19.8 | 387 | 7.9 |  |  | 2.5 | 1 |  |  | 1 |  |  | Horibia instrument was used as YSI was "lost". DO was not calibrated on 08/10/18. DO was calibrated on Horibia on 08/11/18 and DO measurements were retaken. Data on this sheet is from 8/11/18 |  |  | YSI instrument was "lost" and Horibia instrument could not run Chla.
302 | SU-10 | 8 | 19.2 | 21 | 387 | 7.9 |  |  | 2.6 | 1 |  |  | 1 |  |  | Horibia instrument was used as YSI was "lost". DO was not calibrated on 08/10/18. DO was calibrated on Horibia on 08/11/18 and DO measurements were retaken. Data on this sheet is from 8/11/18 |  |  | YSI instrument was "lost" and Horibia instrument could not run Chla.
302 | SU-10 | 9 | 19.2 | 22 | 388 | 7.9 |  |  | 2.2 | 1 |  |  | 1 |  |  | Horibia instrument was used as YSI was "lost". DO was not calibrated on 08/10/18. DO was calibrated on Horibia on 08/11/18 and DO measurements were retaken. Data on this sheet is from 8/11/18 |  |  | YSI instrument was "lost" and Horibia instrument could not run Chla.
302 | SU-10 | 10 | 19.1 | 8.3 | 388 | 7.9 |  |  | 2.2 | 1 |  |  | 1 |  |  | Horibia instrument was used as YSI was "lost". DO was not calibrated on 08/10/18. DO was calibrated on Horibia on 08/11/18 and DO measurements were retaken. Data on this sheet is from 8/11/18 |  |  | YSI instrument was "lost" and Horibia instrument could not run Chla.
302 | SU-10 | 11 | 19.2 | 7.8 | 388 | 7.9 |  |  | 2.4 | 1 |  |  | 1 |  |  | Horibia instrument was used as YSI was "lost". DO was not calibrated on 08/10/18. DO was calibrated on Horibia on 08/11/18 and DO measurements were retaken. Data on this sheet is from 8/11/18 |  |  | YSI instrument was "lost" and Horibia instrument could not run Chla.
302 | SU-10 | 12 | 19.1 | 7.8 | 388 | 7.9 |  |  | 2.5 | 1 |  |  | 1 |  |  | Horibia instrument was used as YSI was "lost". DO was not calibrated on 08/10/18. DO was calibrated on Horibia on 08/11/18 and DO measurements were retaken. Data on this sheet is from 8/11/18 |  |  | YSI instrument was "lost" and Horibia instrument could not run Chla.
302 | SU-10 | 13 | 19.1 | 7.3 | 388 | 7.9 |  |  | 2.8 | 1 |  |  | 1 |  |  | Horibia instrument was used as YSI was "lost". DO was not calibrated on 08/10/18. DO was calibrated on Horibia on 08/11/18 and DO measurements were retaken. Data on this sheet is from 8/11/18 |  |  | YSI instrument was "lost" and Horibia instrument could not run Chla.
302 | SU-10 | 14 | 19.1 | 7 | 388 | 7.9 |  |  | 2.9 | 1 |  |  | 1 |  |  | Horibia instrument was used as YSI was "lost". DO was not calibrated on 08/10/18. DO was calibrated on Horibia on 08/11/18 and DO measurements were retaken. Data on this sheet is from 8/11/18 |  |  | YSI instrument was "lost" and Horibia instrument could not run Chla.
302 | SU-10 | 15 | 19.1 | 7.3 | 388 | 7.9 |  |  | 3.3 | 1 |  |  | 1 |  |  | Horibia instrument was used as YSI was "lost". DO was not calibrated on 08/10/18. DO was calibrated on Horibia on 08/11/18 and DO measurements were retaken. Data on this sheet is from 8/11/18 |  |  | YSI instrument was "lost" and Horibia instrument could not run Chla.
302 | SU-10 | 16 | 19.1 | 7.4 | 388 | 7.9 |  |  | 2.8 | 1 |  |  | 1 |  |  | Horibia instrument was used as YSI was "lost". DO was not calibrated on 08/10/18. DO was calibrated on Horibia on 08/11/18 and DO measurements were retaken. Data on this sheet is from 8/11/18 |  |  | YSI instrument was "lost" and Horibia instrument could not run Chla.
302 | SU-10 | 17 | 19 | 7.2 | 388 | 7.8 |  |  | 2.6 | 1 |  |  | 1 |  |  | Horibia instrument was used as YSI was "lost". DO was not calibrated on 08/10/18. DO was calibrated on Horibia on 08/11/18 and DO measurements were retaken. Data on this sheet is from 8/11/18 |  |  | YSI instrument was "lost" and Horibia instrument could not run Chla.
302 | SU-10 | 17.6 | 19 | 7.2 | 388 | 7.9 |  |  | 2.6 | 1 |  |  | 1 |  |  | Horibia instrument was used as YSI was "lost". DO was not calibrated on 08/10/18. DO was calibrated on Horibia on 08/11/18 and DO measurements were retaken. Data on this sheet is from 8/11/18 |  |  | YSI instrument was "lost" and Horibia instrument could not run Chla.

## data.dictionary
lakeID | three digit numeric code '235'
siteID | one or two letters, dash, two digit numeric code 'SU-08'
sample.depth.m | measurement depth in meters
temp.C | water temperature in celsius
do.mg.l | dissolved oxygen in mg/L
sp.cond.us.cm | specific conductivity in us/cm
pH | pH
chl.a.ug.l | chlorophyll a in ug/L
phyc.ug.l | phycocyanin in ug/L
turbidity.ntu | turbidity in NTU
do.flag | if no problem, blank, else '1'
cond.flag | if no problem, blank, else '1'
pH.flag | if no problem, blank, else '1'
chla.flag | if no problem, blank, else '1'
phyc.flag | if no problem, blank, else '1'
turbidity.flag | if no problem, blank, else '1'
do.comment | if no problem, blank, else explanatory comment 'failed post-deployment cal check'
cond.comment | if no problem, blank, else explanatory comment 'failed post-deployment cal check'
pH.comment | if no problem, blank, else explanatory comment 'failed post-deployment cal check'
chla.comment | if no problem, blank, else explanatory comment 'failed post-deployment cal check'
phyc.comment | if no problem, blank, else explanatory comment 'failed post-deployment cal check'
turbidity.comment | if no problem, blank, else explanatory comment 'failed post-deployment cal check'