## data
lakeID | siteID | sample.depth.m | temp.C | do.mg.l | sp.cond.us.cm | pH | chl.a.ug.l | phyc.ug.l | turbidity.ntu | do.flag | cond.flag | pH.flag | chla.flag | phyc.flag | turbidity.flag | do.comment | cond.comment | pH.comment | chla.comment | phyc.comment | turbidity.comment
999 | SU-10 | 0.1 | 18.2 | 9.81 | 33 | 6.58 | [8 empty] | 1 | [5 empty] | No turbidity data - would not calibrate
999 | SU-10 | 1 | 18.12 | 9.63 | 31 | 6.69 | [8 empty] | 1 | [5 empty] | No turbidity data - would not calibrate
999 | SU-10 | 2 | 18.2 | 9.84 | 33 | 6.69 | [8 empty] | 1 | [5 empty] | No turbidity data - would not calibrate
999 | SU-10 | 3 | 18.1 | 9.67 | 33 | 6.69 | [8 empty] | 1 | [5 empty] | No turbidity data - would not calibrate
999 | SU-10 | 4 | 18 | 9.74 | 33 | 6.7 | [8 empty] | 1 | [5 empty] | No turbidity data - would not calibrate
999 | SU-10 | 5 | 17.9 | 9.58 | 33 | 6.7 | [8 empty] | 1 | [5 empty] | No turbidity data - would not calibrate
999 | SU-10 | 6 | 17.7 | 9.74 | 34 | 6.68 | [8 empty] | 1 | [5 empty] | No turbidity data - would not calibrate
999 | SU-10 | 7 | 17.5 | 9.61 | 34 | 6.67 | [8 empty] | 1 | [5 empty] | No turbidity data - would not calibrate
999 | SU-10 | 8 | 17.3 | 9.49 | 34 | 6.64 | [8 empty] | 1 | [5 empty] | No turbidity data - would not calibrate
999 | SU-10 | 9 | 17.2 | 9.51 | 32 | 6.61 | [8 empty] | 1 | [5 empty] | No turbidity data - would not calibrate
999 | SU-10 | 10 | 17.1 | 9.43 | 36 | 6.57 | [8 empty] | 1 | [5 empty] | No turbidity data - would not calibrate
999 | SU-10 | 11 | 16.9 | 9.5 | 31 | 6.54 | [8 empty] | 1 | [5 empty] | No turbidity data - would not calibrate
999 | SU-10 | 12 | 16.8 | 9.34 | 32 | 6.48 | [8 empty] | 1 | [5 empty] | No turbidity data - would not calibrate
999 | SU-10 | 13 | 16.7 | 9.13 | 32 | 6.42 | [8 empty] | 1 | [5 empty] | No turbidity data - would not calibrate
999 | SU-10 | 14 | 16.6 | 9.17 | 31 | 6.37 | [8 empty] | 1 | [5 empty] | No turbidity data - would not calibrate
999 | SU-10 | 15 | 16.5 | 9.09 | 32 | 6.33 | [8 empty] | 1 | [5 empty] | No turbidity data - would not calibrate
999 | SU-10 | 16 | 16.5 | 9.09 | 32 | 6.29 | [8 empty] | 1 | [5 empty] | No turbidity data - would not calibrate
999 | SU-10 | 17 | 16.4 | 9.16 | 33 | 6.27 | [8 empty] | 1 | [5 empty] | No turbidity data - would not calibrate
999 | SU-10 | 18 | 16.3 | 9.04 | 33 | 6.24 | [8 empty] | 1 | [5 empty] | No turbidity data - would not calibrate
999 | SU-10 | 19 | 16.2 | 9.1 | 33 | 6.24 | [8 empty] | 1 | [5 empty] | No turbidity data - would not calibrate
999 | SU-10 | 20 | 16.1 | 8.94 | 34 | 6.22 | [8 empty] | 1 | [5 empty] | No turbidity data - would not calibrate
999 | SU-10 | 21 | 16 | 8.92 | 34 | 6.2 | [8 empty] | 1 | [5 empty] | No turbidity data - would not calibrate
999 | SU-10 | 22 | 15.9 | 8.84 | 32 | 6.2 | [8 empty] | 1 | [5 empty] | No turbidity data - would not calibrate
999 | SU-10 | 23 | 15.9 | 8.81 | 34 | 6.25 | [8 empty] | 1 | [5 empty] | No turbidity data - would not calibrate
999 | SU-10 | 24 | 15.8 | 8.78 | 32 | 6.18 | [8 empty] | 1 | [5 empty] | No turbidity data - would not calibrate
999 | SU-10 | 25 | 15.7 | 8.75 | 32 | 6.17 | [8 empty] | 1 | [5 empty] | No turbidity data - would not calibrate
999 | SU-10 | 26 | 15.1 | 8.57 | 30 | 6.17 | [8 empty] | 1 | [5 empty] | No turbidity data - would not calibrate
999 | SU-10 | 27 | 15.4 | 8.66 | 29 | 6.19 | [8 empty] | 1 | [5 empty] | No turbidity data - would not calibrate
999 | SU-10 | 28 | 15.3 | 8.66 | 28 | 6.16 | [8 empty] | 1 | [5 empty] | No turbidity data - would not calibrate
999 | SU-10 | 29 | 15.1 | 8.73 | 27 | 6.16 | [8 empty] | 1 | [5 empty] | No turbidity data - would not calibrate
999 | SU-10 | 30 | 14.8 | 8.6 | 26 | 6.16 | [8 empty] | 1 | [5 empty] | No turbidity data - would not calibrate
999 | SU-10 | 31 | 14.2 | 8.8 | 25 | 6.15 | [8 empty] | 1 | [5 empty] | No turbidity data - would not calibrate
999 | SU-10 | 32 | 13.9 | 8.96 | 26 | 6.15 | [8 empty] | 1 | [5 empty] | No turbidity data - would not calibrate
999 | SU-10 | 33 | 13.5 | 8.7 | 25 | 6.15 | [8 empty] | 1 | [5 empty] | No turbidity data - would not calibrate
999 | SU-10 | 34 | 13 | 8.88 | 24 | 6.15 | [8 empty] | 1 | [5 empty] | No turbidity data - would not calibrate
999 | SU-10 | 35 | 12.4 | 7.8 | 25 | 6.13 | [8 empty] | 1 | [5 empty] | No turbidity data - would not calibrate
999 | SU-10 | 36 | 12.2 | 8.5 | 24 | 6.13 | [8 empty] | 1 | [5 empty] | No turbidity data - would not calibrate
999 | SU-10 | 37 | 11.7 | 8.68 | 27 | 6.11 | [8 empty] | 1 | [5 empty] | No turbidity data - would not calibrate
999 | SU-10 | 38 | 10.7 | 8.51 | 27 | 6.11 | [8 empty] | 1 | [5 empty] | No turbidity data - would not calibrate
999 | SU-10 | 39 | 10.3 | 8.6 | 29 | 6.1 | [8 empty] | 1 | [5 empty] | No turbidity data - would not calibrate
999 | SU-10 | 40 | 9.4 | 8.38 | 31 | 6.1 | [8 empty] | 1 | [5 empty] | No turbidity data - would not calibrate
999 | SU-10 | 41 | 8.9 | 8.45 | 32 | 6.08 | [8 empty] | 1 | [5 empty] | No turbidity data - would not calibrate
999 | SU-10 | 42 | 8.6 | 8.54 | 33 | 6.07 | [8 empty] | 1 | [5 empty] | No turbidity data - would not calibrate
999 | SU-10 | 43 | 8.2 | 7.69 | 34 | 6.1 | [8 empty] | 1 | [5 empty] | No turbidity data - would not calibrate
999 | SU-10 | 44 | 8 | 8.54 | 34 | 6.06 | [8 empty] | 1 | [5 empty] | No turbidity data - would not calibrate
999 | SU-10 | 45 | 7.9 | 7.05 | 35 | 6.04 | [8 empty] | 1 | [5 empty] | No turbidity data - would not calibrate
999 | SU-10 | 46 | 7.7 |  | 35 | 6.02 |  |  |  | 1 |  |  |  |  | 1 | DO stopped recording at 46 meters |  |  |  |  | No turbidity data - would not calibrate
999 | SU-10 | 47 | 7.5 |  | 36 | 6.03 |  |  |  | 1 |  |  |  |  | 1 | DO stopped recording at 46 meters |  |  |  |  | No turbidity data - would not calibrate
999 | SU-10 | 48 | 7.5 |  | 36 | 6.03 |  |  |  | 1 |  |  |  |  | 1 | DO stopped recording at 46 meters |  |  |  |  | No turbidity data - would not calibrate
999 | SU-10 | 49 | 7.3 |  | 36 | 6.02 |  |  |  | 1 |  |  |  |  | 1 | DO stopped recording at 46 meters |  |  |  |  | No turbidity data - would not calibrate
999 | SU-10 | 50 | 7.1 |  | 37 | 6.03 |  |  |  | 1 |  |  |  |  | 1 | DO stopped recording at 46 meters |  |  |  |  | No turbidity data - would not calibrate
999 | SU-10 | 51 | 7 |  | 37 | 6.03 |  |  |  | 1 |  |  |  |  | 1 | DO stopped recording at 46 meters |  |  |  |  | No turbidity data - would not calibrate
999 | SU-10 | 52 | 7.1 |  | 37 | 6.04 |  |  |  | 1 |  |  |  |  | 1 | DO stopped recording at 46 meters |  |  |  |  | No turbidity data - would not calibrate
999 | SU-10 | 53 | 6.8 |  | 38 | 6.04 |  |  |  | 1 |  |  |  |  | 1 | DO stopped recording at 46 meters |  |  |  |  | No turbidity data - would not calibrate
999 | SU-10 | 54 | 6.6 |  | 38 | 6.03 |  |  |  | 1 |  |  |  |  | 1 | DO stopped recording at 46 meters |  |  |  |  | No turbidity data - would not calibrate
999 | SU-10 | 55 | 6.4 |  | 39 | 6.03 |  |  |  | 1 |  |  |  |  | 1 | DO stopped recording at 46 meters |  |  |  |  | No turbidity data - would not calibrate
999 | SU-10 | 56 | 6.3 |  | 40 | 5.98 |  |  |  | 1 |  |  |  |  | 1 | DO stopped recording at 46 meters |  |  |  |  | No turbidity data - would not calibrate

## data.dictionary
lakeID | three digit numeric code '235'
siteID | one or two letters, dash, two digit numeric code 'SU-08'
sample.depth.m | measurement depth in meters
temp.C | water temperature in celsius
do.mg.l | dissolved oxygen in mg/L
sp.cond.us.cm | specific conductivity in us/cm
pH | pH
chl.a.ug.l | chlorophyll a in ug/L
phyc.ug.l | phycocyanin in ug/L
turbidity.ntu | turbidity in NTU
do.flag | if no problem, blank, else '1'
cond.flag | if no problem, blank, else '1'
pH.flag | if no problem, blank, else '1'
chla.flag | if no problem, blank, else '1'
phyc.flag | if no problem, blank, else '1'
turbidity.flag | if no problem, blank, else '1'
do.comment | if no problem, blank, else explanatory comment 'failed post-deployment cal check'
cond.comment | if no problem, blank, else explanatory comment 'failed post-deployment cal check'
pH.comment | if no problem, blank, else explanatory comment 'failed post-deployment cal check'
chla.comment | if no problem, blank, else explanatory comment 'failed post-deployment cal check'
phyc.comment | if no problem, blank, else explanatory comment 'failed post-deployment cal check'
turbidity.comment | if no problem, blank, else explanatory comment 'failed post-deployment cal check'