## data
lakeID | siteID | sample.depth.m | temp.C | do.mg.l | sp.cond.us.cm | pH | chl.a.ug.l | turbidity.ntu | do.flag | cond.flag | pH.flag | chla.flag | turbidity.flag | do.comment | cond.comment | pH.comment | chla.comment | turbidity.comment
298 | U-01 | 0.1 | 21.7 | 8.2 | 215 | 9.1 | 2.8 | 2.3
298 | U-01 | 1 | 21.6 | 8.2 | 215 | 9.1 | 2.8 | 2.2
298 | U-01 | 2 | 21.6 | 8.2 | 215 | 9.1 | 2.9 | 2
298 | U-01 | 3 | 21.5 | 8.2 | 215 | 9.1 | 3.2 | 2
298 | U-01 | 4 | 21.4 | 8.1 | 215 | 9.1 | 3 | 2.6
298 | U-01 | 5 | 21.2 | 8 | 215 | 9 | 2.9 | 2.2
298 | U-01 | 6 | 19.6 | 8.4 | 217 | 8.4 | 2.9 | 2
298 | U-01 | 7 | 18 | 1 | 218 | 7.7 | 3.6 | 1.7
298 | U-01 | 8 | 16.3 | 0.5 | 218 | 7.5 | 2.6 | 0.7
298 | U-01 | 9 | 14.7 | 0.4 | 217 | 7.5 | 2.1 | 0.4
298 | U-01 | 10 | 13.8 | 0.3 | 218 | 7.5 | 2 | 0.3
298 | U-01 | 11 | 13.1 | 0.3 | 219 | 7.5 | 1 | 0.3
298 | U-01 | 12 | 12.7 | 0.3 | 221 | 7.5 | 1.8 | 0.4
298 | U-01 | 13 | 12.6 | 0.3 | 222 | 7.5 | 1.7 | 0.5
298 | U-01 | 13.6 | 12.6 | 0.3 | 222 | 7.5 | 1.2 | 0.6

## data.dictionary
lakeID | three digit numeric code '235'
siteID | one or two letters, dash, two digit numeric code 'SU-08'
sample.depth.m | measurement depth in meters
temp.C | water temperature in celsius
do.mg.l | dissolved oxygen in mg/L
sp.cond.us.cm | specific conductivity in us/cm
pH | pH
chl.a.ug.l | chlorophyll a in ug/L
turbidity.ntu | turbidity in NTU
do.flag | if no problem, blank, else '1'
cond.flag | if no problem, blank, else '1'
pH.flag | if no problem, blank, else '1'
chla.flag | if no problem, blank, else '1'
turbidity.flag | if no problem, blank, else '1'
do.comment | if no problem, blank, else explanatory comment 'failed post-deployment cal check'
cond.comment | if no problem, blank, else explanatory comment 'failed post-deployment cal check'
pH.comment | if no problem, blank, else explanatory comment 'failed post-deployment cal check'
chla.comment | if no problem, blank, else explanatory comment 'failed post-deployment cal check'
turbidity.comment | if no problem, blank, else explanatory comment 'failed post-deployment cal check'