## July_2021_TOC_results
Date Analyzed | Sample ID | NPOC Result | Unit | Notes
2021-07-30 | 203485 | 2.22 | mg/L | Yellow indicates sample result is below lowest calibration curve point (1.0 mg/L)
2021-07-30 | 203486 | 2.743 | mg/L | Pink indicates sample result is above highest calibration curve point (20.0 mg/L)
2021-07-30 | 203487 | 2.631 | mg/L | Green indicates sample was re-analyzed outside the 28 day hold time
2021-07-30 | 203488 | 2.649 | mg/L | Orange indicates QC failure
2021-07-30 | 203489 | 2.621 | mg/L | d2 indicates 1:1 ratio; final result is double what is shown
2021-07-30 | 203490 | 2.666 | mg/L
2021-07-30 | 203491 | 2.57 | mg/L
2021-07-30 | 203491 DUP | 2.615 | mg/L
2021-07-30 | 203587 | 6.719 | mg/L
2021-07-30 | 203587 SPK | 11.6 | mg/L
2021-07-30 | ALT 5.0 | 5.003 | mg/L
2021-07-30 | CCC (5.0) | 4.952 | mg/L
2021-07-30 | LFB 3.0 | 2.864 | mg/L
2021-07-30 | 203588 | 6.709 | mg/L
2021-07-30 | 203589 | 6.205 | mg/L
2021-07-30 | 203590 | 5.411 | mg/L
2021-07-30 | 203591 | 4.724 | mg/L
2021-07-30 | 203592 | 5.33 | mg/L
2021-07-30 | 203593 | 5.317 | mg/L
2021-07-30 | 203594 | 3.658 | mg/L
2021-07-30 | 203594 DUP | 3.675 | mg/L
2021-07-30 | 203595 | 3.55 | mg/L
2021-07-31 | 203595 SPK | 8.531 | mg/L
2021-07-31 | ALT 5.0 | 5.035 | mg/L
2021-07-31 | CCC (1.0) | 0.9791 | mg/L
2021-07-31 | LFB 3.0 | 2.923 | mg/L
2021-07-31 | 203596 | 20.34 | mg/L
2021-07-31 | 203597 | 19.89 | mg/L
2021-07-31 | 203598 | 0 | mg/L | *instrument misinject
2021-07-31 | 203599 | 4.696 | mg/L
2021-07-31 | 203600 | 5.41 | mg/L
2021-07-31 | 203601 | 5.823 | mg/L
2021-07-31 | 203602 | 5.632 | mg/L
2021-07-31 | 203602 DUP | 5.648 | mg/L
2021-07-31 | 203603 | 4.347 | mg/L
2021-07-31 | 203603 SPK | 9.303 | mg/L
2021-07-31 | ALT 5.0 | 4.948 | mg/L
2021-07-31 | CCC (10.0) | 9.851 | mg/L
2021-07-31 | LFB 3.0 | 2.891 | mg/L
2021-07-31 | 203613rerun | 0.57 | mg/L
2021-07-31 | 203614d2 | 9.909 | mg/L
2021-07-31 | 203629d2 | 10.36 | mg/L
2021-07-31 | 203639d2 | 10.13 | mg/L
2021-07-31 | 203640d2 | 9.973 | mg/L
2021-07-31 | 203641d2 | 10.21 | mg/L
2021-07-31 | ALT 5.0 | 5.014 | mg/L
2021-07-31 | CCC (3.0) | 2.959 | mg/L
2021-07-31 | LFB 3.0 | 2.85 | mg/L
2021-08-01 | ALT 5.0 | 4.564 | mg/L
2021-08-01 | LFB 3.0 | 2.794 | mg/L
2021-08-01 | 203604 | 3.326 | mg/L
2021-08-01 | 203605 | 11.81 | mg/L
2021-08-01 | 203606 | 0 | mg/L | *insturment misinject
2021-08-01 | 203607 | 4.908 | mg/L
2021-08-01 | 203608 | 5.024 | mg/L
2021-08-01 | 203609 | 11.4 | mg/L
2021-08-01 | 203646 | 5.993 | mg/L
2021-08-01 | 203646 DUP | 5.975 | mg/L
2021-08-01 | 203645 | 18.33 | mg/L
2021-08-01 | 203645d2 SPK | 9.111 | mg/L
2021-08-01 | ALT 5.0 | 4.309 | mg/L | QCs failed at end of run, Debbie reanalyzed
2021-08-01 | LFB 3.0 | 2.548 | mg/L
2021-08-01 | 203644 | 18.24 | mg/L
2021-08-01 | 203643 | 47.25 | mg/L | exceeds cal curve, will be reanalyzed
2021-08-01 | 203642 | 5.522 | mg/L
2021-08-01 | 203790 | 2.55 | mg/L
2021-08-01 | 203791 | 2.379 | mg/L
2021-08-01 | 203792 | 0 | mg/L | *instrument misinject
2021-08-01 | 203793 DUP | 0 | mg/L | *instrument misinject
2021-08-01 | 203794 | 0 | mg/L | *instrument misinject, inadequate sample volume for reanalysis
2021-08-01 | 203794 SPK | 6.187 | mg/L
2021-08-23 | ALT 5.0 | 4.975 | mg/L
2021-08-23 | CCC 3.0 | 3.085 | mg/L
2021-08-23 | LRB | 0.3573 | mg/L
2021-08-23 | LFF 3.0 | 3.025 | mg/L
2021-08-23 | 203796d2 | 1.567 | mg/L | *all samples reanalyzed outside of hold time
2021-08-23 | 203797d2 | 1.568 | mg/L
2021-08-23 | 203334d2 | 1.382 | mg/L
2021-08-23 | 203335d2 | 1.381 | mg/L
2021-08-23 | 203336d2 | 2.821 | mg/L
2021-08-23 | 203337d2 | 4.143 | mg/L
2021-08-23 | 203338d2 | 0.07103 | mg/L
2021-08-23 | 203338d2 DUP | 0.07254 | mg/L
2021-08-23 | 203645d2 | 11.98 | mg/L
2021-08-23 | 203598d2 | 0.9949 | mg/L
2021-08-23 | 203598d2 SPK | 4.914 | mg/L
2021-08-23 | ALT 5.0 | 4.977 | mg/L
2021-08-23 | CCC 15.0 | 14.86 | mg/L
2021-08-23 | LRB | 0.3182 | mg/L
2021-08-23 | LFB 3.0 | 2.943 | mg/L