## Submission Sheet
TTEB SAMPLE SUBMISSION FORM
| SUBMISSION DATE: |  | __________6/22/2022________________ |  |  |  |  | STUDY ID:______SuRGE________________ | [7 empty] | RETURN DATA TO: |  |  |  | _______Beaulieu___________________
| COLLECTION DATE: |  | __________6/13/2022________________ | [11 empty] | SUBMITTER: |  |  |  |  | ______Leah Juilfs____________________
[5 empty] | METALS |  |  |  | INORGANICS | [5 empty] | ORGANICS
[6 empty] | Preserved Y_x_ N__ |  | Y__ N__ | Preserved Y__ N__ |  |  |  |  | Y__ N__ | Preserved Y__ N__ |  | Y__ N__ | Y__ N__ | Y__ N__ | Y__ N__ | Y__ N__ | Y__ N__ | Y__ N__ |  | Y__ N__
Sample I.D. |  |  |  | Lab I.D. |  | ICP AES | ICP MS | LC MS | Alk | Cl- | NO3 NO2 as N | NH3 as N | O PO4 | TIC | TOC/DOC | TOC/ TN | HAA | HAN | THM | ClO2** | ClO4 ** | Br- ** | BrO3- ** | ANIONS ** | PFAS
lake_id | site_id | sample_depth | sample_type
166 | 6 | shallow | unknown | 212175 |  | X
166 | 6 | deep | unknown | 212176 |  | X
184 | 3 | shallow | unknown | 212177 |  | X
184 | 3 | deep | unknown | 212178 |  | X
|  | Sample Location: |  |  |  | <--B22--> |  |  | <---Refrigerator in B22---> | [5 empty] | <-------------Refrigerator in B22--------------->
ICP AES analyses include Al, As, Ba, Be, Ca, Cd, Cr, Cu, Fe, K, Li, Mg, Mn, Na, Ni, P, Pb, S, Si, Sn, Sr, V, Zn
ICP MS analyses include As, Pb, Tl, and U
|  | Anions by Method 300.0 includes F-; Cl-; NO2;NO3;PO4;SO4 | [21 empty] | X
**Ion Chromatography samples - Contact David Griffith (x7059) or Stephanie Brown (x7083)

## Sheet2
sample_depth | sample_type | OC
deep | unknown | TOC
shallow | duplicate | DOC
blank | blank

## Readme
RETURN DATA TO: BEAULIEU
COLLECTION DATE leave blank
lake_id it is the CH4-XXX ID. 0 does not need to be included as a place holder. Example: for lake 069, 69 would be inserted. “CH4” will not be included in the lake_id, numeric digits only.
site_id is numeric digit usually listed as U-01 on the sample bottle. Only the number will be recorded. U-01 would be recorded as 1.
Sample depth will be recorded as shallow, deep or blank. Blank samples are listed as “Shallow Blank” on the sample bottle but will be listed as blank on the TTEB sample submission form.
Sample type will be recorded as unknown, duplicate, or blank. See sample label for sample type.
Lab I.D. is a unique numeric digit provided by TTEB lab.
One analyte will be selected per form. A new form will be filled out for additional analytes.
See sample bottle for analysis type.
For TOC/DOC samples, select either TOC or DOC from dropdown menu.
For Anion samples select ANIONS**
For “Metals” select ICP AES.