## data
lakeID | siteID | sample.depth.m | temp.C | do.mg.l | sp.cond.us.cm | pH | chl.a.ug.l | turbidity.ntu | do.flag | cond.flag | pH.flag | chla.flag | turbidity.flag | do.comment | cond.comment | pH.comment | chla.comment | turbidity.comment
146 | SU-04 | 0.1 | 22.5 | 8.95 | 1735 | 8.29 | 9.8 | -0.7 |  |  |  |  | 1 |  |  |  |  | Post deployment calibration check failure (sonde was working correctly at CH4-146 but don't have calibration check to prove that)
146 | SU-04 | 1 | 22.5 | 8.7 | 1731 | 8.24 | 10.9 | 4.5 |  |  |  |  | 1 |  |  |  |  | Post deployment calibration check failure (sonde was working correctly at CH4-146 but don't have calibration check to prove that)
146 | SU-04 | 2 | 22.5 | 8.51 | 1731 | 8.22 | 9.9 | 5.4 |  |  |  |  | 1 |  |  |  |  | Post deployment calibration check failure (sonde was working correctly at CH4-146 but don't have calibration check to prove that)
146 | SU-04 | 3 | 22.5 | 8.4 | 1733 | 8.22 | 10.3 | 6.8 |  |  |  |  | 1 |  |  |  |  | Post deployment calibration check failure (sonde was working correctly at CH4-146 but don't have calibration check to prove that)
146 | SU-04 | 4 | 22.4 | 8.38 | 1733 | 8.21 | 9.8 | 7.2 |  |  |  |  | 1 |  |  |  |  | Post deployment calibration check failure (sonde was working correctly at CH4-146 but don't have calibration check to prove that)
146 | SU-04 | 5 | 22.4 | 8.38 | 1733 | 8.21 | 9.8 | 7.2 |  |  |  |  | 1 |  |  |  |  | Post deployment calibration check failure (sonde was working correctly at CH4-146 but don't have calibration check to prove that)
146 | SU-04 | 6 | 22.4 | 8.11 | 1733 | 8.2 | 9.3 | 11.4 |  |  |  |  | 1 |  |  |  |  | Post deployment calibration check failure (sonde was working correctly at CH4-146 but don't have calibration check to prove that)
146 | SU-04 | 7 | 22.1 | 7.6 | 1738 | 8.13 | 9.2 | 13.1 |  |  |  |  | 1 |  |  |  |  | Post deployment calibration check failure (sonde was working correctly at CH4-146 but don't have calibration check to prove that)
146 | SU-04 | 7.5 | 21.8 | 6.7 | 1734 | 8.06 | 9.9 | 9.9 |  |  |  |  | 1 |  |  |  |  | Post deployment calibration check failure (sonde was working correctly at CH4-146 but don't have calibration check to prove that)

## data.dictionary
lakeID | three digit numeric code '235'
siteID | one or two letters, dash, two digit numeric code 'SU-08'
sample.depth.m | measurement depth in meters
temp.C | water temperature in celsius
do.mg.l | dissolved oxygen in mg/L
sp.cond.us.cm | specific conductivity in us/cm
pH | pH
chl.a.ug.l | chlorophyll a in ug/L
turbidity.ntu | turbidity in NTU
do.flag | if no problem, blank, else '1'
cond.flag | if no problem, blank, else '1'
pH.flag | if no problem, blank, else '1'
chla.flag | if no problem, blank, else '1'
turbidity.flag | if no problem, blank, else '1'
do.comment | if no problem, blank, else explanatory comment 'failed post-deployment cal check'
cond.comment | if no problem, blank, else explanatory comment 'failed post-deployment cal check'
pH.comment | if no problem, blank, else explanatory comment 'failed post-deployment cal check'
chla.comment | if no problem, blank, else explanatory comment 'failed post-deployment cal check'
turbidity.comment | if no problem, blank, else explanatory comment 'failed post-deployment cal check'