## data
lakeID | siteID | sample.depth.m | temp.C | do.mg.l | sp.cond.us.cm | pH | chl.a.ug.l | turbidity.ntu | do.flag | cond.flag | pH.flag | chla.flag | turbidity.flag | do.comment | cond.comment | pH.comment | chla.comment | turbidity.comment
166 | 6 | 0.1 | 26.7 | 7.86 | 269 | 8.25 | 305.2 | 34.1 |  |  |  | 1 |  |  |  |  | Unstable chl readings
166 | 6 | 0.5 | 26.7 | 7.89 | 269 | 8.19 | 278.2 | 35 |  |  |  | 1 |  |  |  |  | Unstable chl readings
166 | 6 | 1 | 26.7 | 7.98 | 269 | 8.18 | 284 | 33.9 |  |  |  | 1 |  |  |  |  | Unstable chl readings
166 | 6 | 1.5 | 26.6 | 8.07 | 269 | 8.17 | 294.8 | 35.5 |  |  |  | 1 |  |  |  |  | Unstable chl readings
166 | 6 | 2 | 26.5 | 8.21 | 270 | 8.13 | 291.5 | 36.9 |  |  |  | 1 |  |  |  |  | Unstable chl readings
166 | 6 | 2 | 26.4 | 8.2 | 270 | 8.09 | 288.7 | 44.3 |  |  |  | 1 |  |  |  |  | Unstable chl readings
166 | 6 | 2.8 | 26.1 | 6.56 | 270 | 8.01 | 280.7 | 44.2 |  |  |  | 1 |  |  |  |  | Unstable chl readings

## data.dictionary
lakeID | three digit numeric code '235'
siteID | one or two letters, dash, two digit numeric code 'SU-08'
sample.depth.m | measurement depth in meters
temp.C | water temperature in celsius
do.mg.l | dissolved oxygen in mg/L
sp.cond.us.cm | specific conductivity in us/cm
pH | pH
chl.a.ug.l | chlorophyll a in ug/L
turbidity.ntu | turbidity in NTU
do.flag | if no problem, blank, else '1'
cond.flag | if no problem, blank, else '1'
pH.flag | if no problem, blank, else '1'
chla.flag | if no problem, blank, else '1'
turbidity.flag | if no problem, blank, else '1'
do.comment | if no problem, blank, else explanatory comment 'failed post-deployment cal check'
cond.comment | if no problem, blank, else explanatory comment 'failed post-deployment cal check'
pH.comment | if no problem, blank, else explanatory comment 'failed post-deployment cal check'
chla.comment | if no problem, blank, else explanatory comment 'failed post-deployment cal check'
turbidity.comment | if no problem, blank, else explanatory comment 'failed post-deployment cal check'