## data
lakeID | siteID | sample.depth.m | temp.C | do.mg.l | sp.cond.us.cm | pH | chl.a.ug.l | phyc.ug.l | turbidity.ntu | do.flag | cond.flag | pH.flag | chla.flag | turbidity.flag | do.comment | cond.comment | pH.comment | chla.comment | turbidity.comment
206 | U-2 | 0.1 | 28.82 | 7.11 | 474.6 | 8.19 | 19.95 |  | 2.9
206 | U-2 | 1 | 28.91 | 7.02 | 470.5 | 8.24 | 20.21 |  | 3
206 | U-2 | 2 | 28.93 | 6.94 | 470.8 | 8.25 | 19.06 |  | 2.9
206 | U-2 | 3 | 28.92 | 6.74 | 470.9 | 8.23 | 21.86 |  | 4.2
206 | U-2 | 4 | 28.89 | 6.22 | 471.4 | 8.17 | 18.83 |  | 3.1
206 | U-2 | 5 | 27.11 | 0.23 | 482.4 | 7.43 | 22.54 |  | 6
206 | U-2 | 6 | 21.71 | 0.78 | 500.6 | 7.28 | 68.95 |  | 6.7
206 | U-2 | 7 | 18.65 | 0.63 | 503 | 7.19 | 5.62 |  | 3.6
206 | U-2 | 8 | 16.74 | 0.35 | 519.7 | 7.2 | 4.24 |  | 2.6
206 | U-2 | 9 | 16.53 | 0 | 521.7 | 7.2 | 3.97 |  | 2.4
206 | U-2 | 10 | 14.82 | 0 | 526.8 | 7.2 | 3.3 |  | 1.5
206 | U-2 | 11 | 13.81 | 0 | 534.6 | 7.17 | 3.62 |  | 1.4
206 | U-2 | 12 | 13.46 | 0 | 535.1 | 7.11 | 3.24 |  | 1.2
206 | U-2 | 13 | 13.14 | 0 | 539.8 | 7.08 | 3.4 |  | 1
206 | U-2 | 14 | 12.79 | 0 | 545.8 | 7.01 | 3.37 |  | 1.1
206 | U-2 | 15 | 12.46 | 0 | 551.2 | 6.95 | 3.4 |  | 1.2

## data.dictionary
lakeID | three digit numeric code '235'
siteID | one or two letters, dash, two digit numeric code 'SU-08'
sample.depth.m | measurement depth in meters
temp.C | water temperature in celsius
do.mg.l | dissolved oxygen in mg/L
sp.cond.us.cm | specific conductivity in us/cm
pH | pH
chl.a.ug.l | chlorophyll a in ug/L
turbidity.ntu | turbidity in NTU
do.flag | if no problem, blank, else '1'
cond.flag | if no problem, blank, else '1'
pH.flag | if no problem, blank, else '1'
chla.flag | if no problem, blank, else '1'
turbidity.flag | if no problem, blank, else '1'
do.comment | if no problem, blank, else explanatory comment 'failed post-deployment cal check'
cond.comment | if no problem, blank, else explanatory comment 'failed post-deployment cal check'
pH.comment | if no problem, blank, else explanatory comment 'failed post-deployment cal check'
chla.comment | if no problem, blank, else explanatory comment 'failed post-deployment cal check'
turbidity.comment | if no problem, blank, else explanatory comment 'failed post-deployment cal check'