## data
lakeID | siteID | sample.depth.m | temp.C | do.mg.l | sp.cond.us.cm | pH | chl.a.ug.l | turbidity.ntu | do.flag | cond.flag | pH.flag | chla.flag | turbidity.flag | do.comment | cond.comment | pH.comment | chla.comment | turbidity.comment
204 | U-3 | 0.1 | 20.74 | 10.6 | 466 | 10.24 | 0 | 0.2 |  | 1 | 1 | 1 | 1 |  | Post deployment standard measurement was OK, but calibrated value was out of range and cell constant was too low | Check post-deployment cal sheet before unflagging | All readings were near 0.0. Chlorophyl was calibrated in field but wiper was at 90° | Turbidity 0 value failed post-deployment cal check
204 | U-3 | 1 | 20.75 | 10.67 | 464 | 10.21 | 0 | 0.5 |  | 1 | 1 | 1 | 1 |  | Post deployment standard measurement was OK, but calibrated value was out of range and cell constant was too low | Check post-deployment cal sheet before unflagging | All readings were near 0.0. Chlorophyl was calibrated in field but wiper was at 90° | Turbidity 0 value failed post-deployment cal check
204 | U-3 | 2 | 20.74 | 10.62 | 464 | 10.14 | 0 | 0.6 |  | 1 | 1 | 1 | 1 |  | Post deployment standard measurement was OK, but calibrated value was out of range and cell constant was too low | Check post-deployment cal sheet before unflagging | All readings were near 0.0. Chlorophyl was calibrated in field but wiper was at 90° | Turbidity 0 value failed post-deployment cal check
204 | U-3 | 3 | 20.75 | 10.65 | 463 | 10.13 | 0 | 0.6 |  | 1 | 1 | 1 | 1 |  | Post deployment standard measurement was OK, but calibrated value was out of range and cell constant was too low | Check post-deployment cal sheet before unflagging | All readings were near 0.0. Chlorophyl was calibrated in field but wiper was at 90° | Turbidity 0 value failed post-deployment cal check
204 | U-3 | 4 | 20.19 | 10.79 | 467 | 9.98 | 0.1 | 1.2 |  | 1 | 1 | 1 | 1 |  | Post deployment standard measurement was OK, but calibrated value was out of range and cell constant was too low | Check post-deployment cal sheet before unflagging | All readings were near 0.0. Chlorophyl was calibrated in field but wiper was at 90° | Turbidity 0 value failed post-deployment cal check
204 | U-3 | 5 | 18.37 | 10.46 | 483 | 9.84 | 0.1 | 3.2 |  | 1 | 1 | 1 | 1 |  | Post deployment standard measurement was OK, but calibrated value was out of range and cell constant was too low | Check post-deployment cal sheet before unflagging | All readings were near 0.0. Chlorophyl was calibrated in field but wiper was at 90° | Turbidity 0 value failed post-deployment cal check
204 | U-3 | 6 | 12.38 | 4.46 | 547 | 9.32 | 0 | 1.9 |  | 1 | 1 | 1 | 1 |  | Post deployment standard measurement was OK, but calibrated value was out of range and cell constant was too low | Check post-deployment cal sheet before unflagging | All readings were near 0.0. Chlorophyl was calibrated in field but wiper was at 90° | Turbidity 0 value failed post-deployment cal check
204 | U-3 | 7 | 6.75 | 1.71 | 613 | 8.87 | 0 | 9.6 |  | 1 | 1 | 1 | 1 |  | Post deployment standard measurement was OK, but calibrated value was out of range and cell constant was too low | Check post-deployment cal sheet before unflagging | All readings were near 0.0. Chlorophyl was calibrated in field but wiper was at 90° | Turbidity 0 value failed post-deployment cal check
204 | U-3 | 8 | 4.35 | 0.84 | 637 | 8.7 | 0.1 | 2 |  | 1 | 1 | 1 | 1 |  | Post deployment standard measurement was OK, but calibrated value was out of range and cell constant was too low | Check post-deployment cal sheet before unflagging | All readings were near 0.0. Chlorophyl was calibrated in field but wiper was at 90° | Turbidity 0 value failed post-deployment cal check
204 | U-3 | 9 | 4.02 | 0.62 | 640 | 5.83 | 0.1 | 3.4 |  | 1 | 1 | 1 | 1 |  | Post deployment standard measurement was OK, but calibrated value was out of range and cell constant was too low | Check post-deployment cal sheet before unflagging | All readings were near 0.0. Chlorophyl was calibrated in field but wiper was at 90° | Turbidity 0 value failed post-deployment cal check

## metaData
lakeID | three digit numeric code '235'
siteID | one or two letters, dash, two digit numeric code 'SU-08'
sample.depth.m | measurement depth in meters
temp.C | water temperature in celsius
do.mg.l | dissolved oxygen in mg/L
sp.cond.us.cm | specific conductivity in us/cm
pH | pH
chl.a.ug.l | chlorophyll a in ug/L
turbidity.ntu | turbidity in NTU
do.flag | if no problem, blank, else '1'
cond.flag | if no problem, blank, else '1'
pH.flag | if no problem, blank, else '1'
chla.flag | if no problem, blank, else '1'
turbidity.flag | if no problem, blank, else '1'
do.comment | if no problem, blank, else explanatory comment 'failed post-deployment cal check'
cond.comment | if no problem, blank, else explanatory comment 'failed post-deployment cal check'
pH.comment | if no problem, blank, else explanatory comment 'failed post-deployment cal check'
chla.comment | if no problem, blank, else explanatory comment 'failed post-deployment cal check'
turbidity.comment | if no problem, blank, else explanatory comment 'failed post-deployment cal check'