## data
lakeID | siteID | sample.depth.m | temp.C | do.mg.l | sp.cond.us.cm | pH | chl.a.ug.l | phyc.ug.l | turbidity.ntu | do.flag | cond.flag | pH.flag | chla.flag | phyc.flag | turbidity.flag | do.comment | cond.comment | pH.comment | chla.comment | phyc.comment | turbidity.comment
10 | U-02 | 0.1 | 31.3 | 7.4 | 258 | 8.3 | 0.9 |  | -0.6 | [10 empty] | Not recorded | turbidty sensor unstable at times, but values checked out at Fondriest
10 | U-02 | 1.1 | 31.3 | 7.4 | 258 | 8.3 | 1.4 |  | -0.4 | [10 empty] | Not recorded | turbidty sensor unstable at times, but values checked out at Fondriest
10 | U-02 | 2.1 | 31.3 | 7.4 | 258 | 8.3 | 1 |  | -0.3 | [10 empty] | Not recorded | turbidty sensor unstable at times, but values checked out at Fondriest
10 | U-02 | 3.1 | 31.1 | 6.9 | 259 | 8.2 | 1.7 |  | -0.4 | [10 empty] | Not recorded | turbidty sensor unstable at times, but values checked out at Fondriest
10 | U-02 | 4.1 | 30.8 | 6.6 | 259 | 8.2 | 1.6 |  | -0.4 | [10 empty] | Not recorded | turbidty sensor unstable at times, but values checked out at Fondriest
10 | U-02 | 5.1 | 30.8 | 6.3 | 259 | 8.1 | 1.6 |  | 0.1 | [10 empty] | Not recorded | turbidty sensor unstable at times, but values checked out at Fondriest
10 | U-02 | 6.1 | 30.6 | 5 | 260 | 7.9 | 2.3 |  | 1.2 | [10 empty] | Not recorded | turbidty sensor unstable at times, but values checked out at Fondriest