## data
lakeID | siteID | sample.depth.m | temp.C | do.mg.l | sp.cond.us.cm | pH | chl.a.ug.l | phyc.ug.l | turbidity.ntu | do.flag | cond.flag | pH.flag | chla.flag | turbidity.flag | do.comment | cond.comment | pH.comment | chla.comment | turbidity.comment
3 | U-20 | 0.1 | 29.04 | 8.46 | 148.5 | 8.58 | 25.63 |  | 6.4
3 | U-20 | 1 | 28.44 | 8.26 | 144 | 8.42 | 40.65 |  | 5.9
3 | U-20 | 2 | 27.76 | 5.48 | 144.6 | 7.76 | 38.16 |  | 5.9
3 | U-20 | 3 | 27.73 | 5.02 | 144.7 | 7.5 | 38.85 |  | 6.2
3 | U-20 | 4 | 27.68 | 4.93 | 144.8 | 7.4 | 36.12 |  | 6.6
3 | U-20 | 5 | 27.63 | 4.68 | 145 | 7.34 | 35.69 |  | 6.3
3 | U-20 | 6 | 27.59 | 4.64 | 145 | 7.32 | 32.71 |  | 5.7
3 | U-20 | 7 | 27.57 | 4.56 | 145.1 | 7.29 | 34.64 |  | 6.4

## data.dictionary
lakeID | three digit numeric code '235'
siteID | one or two letters, dash, two digit numeric code 'SU-08'
sample.depth.m | measurement depth in meters
temp.C | water temperature in celsius
do.mg.l | dissolved oxygen in mg/L
sp.cond.us.cm | specific conductivity in us/cm
pH | pH
chl.a.ug.l | chlorophyll a in ug/L
turbidity.ntu | turbidity in NTU
do.flag | if no problem, blank, else '1'
cond.flag | if no problem, blank, else '1'
pH.flag | if no problem, blank, else '1'
chla.flag | if no problem, blank, else '1'
turbidity.flag | if no problem, blank, else '1'
do.comment | if no problem, blank, else explanatory comment 'failed post-deployment cal check'
cond.comment | if no problem, blank, else explanatory comment 'failed post-deployment cal check'
pH.comment | if no problem, blank, else explanatory comment 'failed post-deployment cal check'
chla.comment | if no problem, blank, else explanatory comment 'failed post-deployment cal check'
turbidity.comment | if no problem, blank, else explanatory comment 'failed post-deployment cal check'