## data
lakeID | siteID | sample.depth.m | temp.C | do.mg.l | sp.cond.us.cm | pH | chl.a.ug.l | phyc.ug.l | turbidity.ntu | do.flag | cond.flag | pH.flag | chla.flag | turbidity.flag | do.comment | cond.comment | pH.comment | chla.comment | turbidity.comment
100 | U-11 | 0.1 | 30.19 | 7.65 | 157.6 | 8.11 | 2.31 |  | 4.5
100 | U-11 | 1 | 30.23 | 7.7 | 154.5 | 8.18 | 3.06 |  | 4.8
100 | U-11 | 2 | 29.9 | 7.68 | 154 | 8.2 | 5.64 |  | 5.1
100 | U-11 | 3 | 28.41 | 6.56 | 150.4 | 7.91 | 14.13 |  | 5.5
100 | U-11 | 4 | 25.62 | 1.89 | 146.7 | 7.4 | 13.45 |  | 8.8
100 | U-11 | 5 | 21.07 | 0.78 | 139.3 | 7.14 | 29.74 |  | 13.7
100 | U-11 | 6 | 16.71 | 0 | 153.5 | 6.91 | 8.12 |  | 13.8
100 | U-11 | 7 | 14.95 | 0 | 159.7 | 6.93 | 8.1 |  | 20.2

## data.dictionary
lakeID | three digit numeric code '235'
siteID | one or two letters, dash, two digit numeric code 'SU-08'
sample.depth.m | measurement depth in meters
temp.C | water temperature in celsius
do.mg.l | dissolved oxygen in mg/L
sp.cond.us.cm | specific conductivity in us/cm
pH | pH
chl.a.ug.l | chlorophyll a in ug/L
turbidity.ntu | turbidity in NTU
do.flag | if no problem, blank, else '1'
cond.flag | if no problem, blank, else '1'
pH.flag | if no problem, blank, else '1'
chla.flag | if no problem, blank, else '1'
turbidity.flag | if no problem, blank, else '1'
do.comment | if no problem, blank, else explanatory comment 'failed post-deployment cal check'
cond.comment | if no problem, blank, else explanatory comment 'failed post-deployment cal check'
pH.comment | if no problem, blank, else explanatory comment 'failed post-deployment cal check'
chla.comment | if no problem, blank, else explanatory comment 'failed post-deployment cal check'
turbidity.comment | if no problem, blank, else explanatory comment 'failed post-deployment cal check'