## data
lakeID | siteID | sample.depth.m | temp.C | do.mg.l | sp.cond.us.cm | pH | chl.a.ug.l | turbidity.ntu | do.flag | cond.flag | pH.flag | chla.flag | turbidity.flag | do.comment | cond.comment | pH.comment | chla.comment | turbidity.comment
167 | U-06 | 0.1 | 28.5 | 9.15 | 1068 | 9.35 | 18.2 | 2306.4
167 | U-06 | 0.49 | 28.06 | 7.88 | 1068 | 9.34 | 18 | 16.7
167 | U-06 | 0.999 | 27.98 | 7.48 | 1069 | 9.31 | 16.5 | 17.5
167 | U-06 | 1.57 | 27.9 | 6.72 | 1068 | 9.31 | 15.6 | 17.7
167 | U-06 | 2 | 27.9 | 6.3 | 1068 | 9.29 | 15.6 | 18.9
167 | U-06 | 2.59 | 27.64 | 4.94 | 1070 | 9.22 | 18.5 | 28
167 | U-06 | 3.01 | 27.49 | 4.16 | 1070 | 9.16 | 55 | 3

## data.dictionary
lakeID | three digit numeric code '235'
siteID | one or two letters, dash, two digit numeric code 'SU-08'
sample.depth.m | measurement depth in meters
temp.C | water temperature in celsius
do.mg.l | dissolved oxygen in mg/L
sp.cond.us.cm | specific conductivity in us/cm
pH | pH
chl.a.ug.l | chlorophyll a in ug/L
turbidity.ntu | turbidity in NTU
do.flag | if no problem, blank, else '1'
cond.flag | if no problem, blank, else '1'
pH.flag | if no problem, blank, else '1'
chla.flag | if no problem, blank, else '1'
turbidity.flag | if no problem, blank, else '1'
do.comment | if no problem, blank, else explanatory comment 'failed post-deployment cal check'
cond.comment | if no problem, blank, else explanatory comment 'failed post-deployment cal check'
pH.comment | if no problem, blank, else explanatory comment 'failed post-deployment cal check'
chla.comment | if no problem, blank, else explanatory comment 'failed post-deployment cal check'
turbidity.comment | if no problem, blank, else explanatory comment 'failed post-deployment cal check'