## data
lakeID | siteID | sample.depth.m | temp.C | do.mg.l | sp.cond.us.cm | pH | chl.a.ug.l | turbidity.ntu | do.flag | cond.flag | pH.flag | chla.flag | turbidity.flag | do.comment | cond.comment | pH.comment | chla.comment | turbidity.comment
184 | U-03 | 0.1 | 28.5 | 7.87 | 346 | 8.13 | 7.6 | -7.6 |  |  |  |  | 1 |  |  |  |  | Post deployment calibration check failure
184 | U-03 | 1 | 28.3 | 7.82 | 346 | 8.14 | 7.6 | -7.8 |  |  |  |  | 1 |  |  |  |  | Post deployment calibration check failure
184 | U-03 | 2 | 24.26 | 2.04 | 310 | 7.47 | 10.4 | -0.4 |  |  |  |  | 1 |  |  |  |  | Post deployment calibration check failure
184 | U-03 | 3 | 24.86 | 0.75 | 310 | 7.35 | 7.34 | 2.5 |  |  |  |  | 1 |  |  |  |  | Post deployment calibration check failure
184 | U-03 | 4 | 20.09 | 0.3 | 397 | 7.44 | 10.5 | 11.2 |  |  |  |  | 1 |  |  |  |  | Post deployment calibration check failure
184 | U-03 | 4.5 | 19.01 | 0.28 | 456 | 7.54 | 10.6 | 4.4 |  |  |  |  | 1 |  |  |  |  | Post deployment calibration check failure

## data.dictionary
lakeID | three digit numeric code '235'
siteID | one or two letters, dash, two digit numeric code 'SU-08'
sample.depth.m | measurement depth in meters
temp.C | water temperature in celsius
do.mg.l | dissolved oxygen in mg/L
sp.cond.us.cm | specific conductivity in us/cm
pH | pH
chl.a.ug.l | chlorophyll a in ug/L
turbidity.ntu | turbidity in NTU
do.flag | if no problem, blank, else '1'
cond.flag | if no problem, blank, else '1'
pH.flag | if no problem, blank, else '1'
chla.flag | if no problem, blank, else '1'
turbidity.flag | if no problem, blank, else '1'
do.comment | if no problem, blank, else explanatory comment 'failed post-deployment cal check'
cond.comment | if no problem, blank, else explanatory comment 'failed post-deployment cal check'
pH.comment | if no problem, blank, else explanatory comment 'failed post-deployment cal check'
chla.comment | if no problem, blank, else explanatory comment 'failed post-deployment cal check'
turbidity.comment | if no problem, blank, else explanatory comment 'failed post-deployment cal check'