## data
lakeID | siteID | sample.depth.m | temp.C | do.mg.l | sp.cond.us.cm | pH | chl.a.ug.l | turbidity.ntu | do.flag | cond.flag | pH.flag | chla.flag | turbidity.flag | do.comment | cond.comment | pH.comment | chla.comment | turbidity.comment
190 | SU-08 | 0.1 | 24.25 | 8.78 | 241 | 8.16 | 7.7 | 7.4 |  |  |  |  | 1 |  |  |  |  | Post deployment calibration check failure (sonde was working correctly at CH4-190 but don't have calibration check to prove that)
190 | SU-08 | 1 | 24.26 | 8.71 | 241 | 8.18 | 7.7 | 11.2 |  |  |  |  | 1 |  |  |  |  | Post deployment calibration check failure (sonde was working correctly at CH4-190 but don't have calibration check to prove that)
190 | SU-08 | 2 | 24 | 8.68 | 239 | 8.16 | 6.7 | 10.4 |  |  |  |  | 1 |  |  |  |  | Post deployment calibration check failure (sonde was working correctly at CH4-190 but don't have calibration check to prove that)
190 | SU-08 | 3 | 23.57 | 8.74 | 238 | 8.14 | 6.3 | 7.1 |  |  |  |  | 1 |  |  |  |  | Post deployment calibration check failure (sonde was working correctly at CH4-190 but don't have calibration check to prove that)
190 | SU-08 | 4 | 22.08 | 8.22 | 234 | 7.9 | 9.5 | 2.6 |  |  |  |  | 1 |  |  |  |  | Post deployment calibration check failure (sonde was working correctly at CH4-190 but don't have calibration check to prove that)
190 | SU-08 | 5 | 21.13 | 7.06 | 234 | 7.62 | 7.9 | 2.1 |  |  |  |  | 1 |  |  |  |  | Post deployment calibration check failure (sonde was working correctly at CH4-190 but don't have calibration check to prove that)
190 | SU-08 | 6 | 19.93 | 6.03 | 232 | 7.52 | 5.8 | 5.3 |  |  |  |  | 1 |  |  |  |  | Post deployment calibration check failure (sonde was working correctly at CH4-190 but don't have calibration check to prove that)

## data.dictionary
lakeID | three digit numeric code '235'
siteID | one or two letters, dash, two digit numeric code 'SU-08'
sample.depth.m | measurement depth in meters
temp.C | water temperature in celsius
do.mg.l | dissolved oxygen in mg/L
sp.cond.us.cm | specific conductivity in us/cm
pH | pH
chl.a.ug.l | chlorophyll a in ug/L
turbidity.ntu | turbidity in NTU
do.flag | if no problem, blank, else '1'
cond.flag | if no problem, blank, else '1'
pH.flag | if no problem, blank, else '1'
chla.flag | if no problem, blank, else '1'
turbidity.flag | if no problem, blank, else '1'
do.comment | if no problem, blank, else explanatory comment 'failed post-deployment cal check'
cond.comment | if no problem, blank, else explanatory comment 'failed post-deployment cal check'
pH.comment | if no problem, blank, else explanatory comment 'failed post-deployment cal check'
chla.comment | if no problem, blank, else explanatory comment 'failed post-deployment cal check'
turbidity.comment | if no problem, blank, else explanatory comment 'failed post-deployment cal check'