## data
F1 |  |  | F2 | [14 empty] | F3 |  |  |  |  | F5 | [38 empty] | F7 |  |  | F12
lake.id | site.id | eval.status | lat | long | trap.deply.date | trap.deply.time | trap.rtrvl.date | trap.rtrvl.time | trap.volume | trap.volume.flag | trap.extn1 | trap.extn1.notes | trap.extn2 | trap.extn2.notes | trap.extn3 | trap.extn3.notes | trap.comment | chamb.deply.date | chamb.deply.time | chamb.water.temp | chamb.grad.a | chamb.grad.b | site.depth | sample.depth.s | temp.s | do.mg.s | sp.cond.s | ph.s | chl.s | turb.s | temp.s.flag | do.mg.s.flag | sp.cond.s.flag | ph.s.flag | chl.s.flag | turb.s.flag | temp.s.comment | do.mg.s.comment | sp.cond.s.comment | ph.s.comment | chl.s.comment | turb.s.comment | sample.depth.d | temp.d | do.mg.d | sp.cond.d | ph.d | chl.d | turb.d | temp.d.flag | do.mg.d.flag | sp.cond.d.flag | ph.d.flag | chl.d.flag | turb.d.flag | temp.d.comment | do.mg.d.comment | sp.cond.d.comment | ph.d.comment | chl.d.comment | turb.d.comment | air.extn.1 | air.extn.2 | air.extn.3 | ch4.check | co2.check | ch4.co2.check.date | ch4.co2.check.start.time
233 | S-04 | TS | 43.6231 | 90.089 | 06.01.2021 | 9:59 | 06.02.2021 | 11:17 | 20 |  | SG210927 | [6 empty] | 06.02.2021 | 20:47 | 22.3 | 25 | 30 | 3.2 | 0.1 | 19.7 | 12.47 | 275 | 8.79 | 17.2 | 1.9 | [5 empty] | 1 | [5 empty] | Suspected turbidity probe failure | 2.7 | 16.96 | 10.12 | 292 | 8.41 | 26.8 | 8.1 | [5 empty] | 1 | [5 empty] | Suspected turbidity probe failure |  |  |  | 1.7533 | 410.93 | 06.02.2021 | 23:21
233 | S-03 | TS | 43.6257 | 90.0905 | 06.01.2021 | 10:09 | 06.02.2021 | 10:52 | 3 | [8 empty] | 06.02.2021 | 20:23 | 22.6 | 25 | 30 | 2.3 | 0.1 | 20.03 | 14.13 | 280 | 8.93 | 17.6 | 2.7 | [5 empty] | 1 | [5 empty] | Suspected turbidity probe failure | 1.8 | 18.81 | 15.08 | 281 | 8.97 | 27.6 | 4.1 | [5 empty] | 1 | [5 empty] | Suspected turbidity probe failure
233 | S-05 | TS | 43.6285 | 90.0922 | 06.01.2021 | 10:26 | 06.02.2021 | 10:39 | 57 |  | SG210923 |  | SG210925 |  |  |  |  | 06.02.2021 | 20:12 | 22.4 | 25 | 30 | 2 | 0.1 | 20.55 | 15.24 | 279 | 9.01 | 21.2 | 2.6 | [5 empty] | 1 | [5 empty] | Suspected turbidity probe failure | 1.5 | 19.78 | 15.55 | 280 | 9.04 | 27 | 5 | [5 empty] | 1 | [5 empty] | Suspected turbidity probe failure
233 | S-02 | TS | 43.6289 | 90.0997 | 06.01.2021 | 10:37 | 06.02.2021 | 10:09 | 125 |  | SG210920 |  | SG210921 |  | SG210922 |  |  | 06.02.2021 | 19:53 | 22.3 | 25 | 30 | 1.1 | 0.1 | 22.05 | 22.54 | 279 | 9.38 | 72.6 | 10.2 | [5 empty] | 1 | [5 empty] | Suspected turbidity probe failure | 0.6 | 21.67 | 17.3 | 280 | 9.24 | 38.4 | 9 | [5 empty] | 1 | [5 empty] | Suspected turbidity probe failure
233 | S-06 | TS | 43.6251 | 90.0876 | 06.01.2021 | 10:53 | 06.02.2021 | 11:04 | 48 |  | SG210924 |  | SG210926 |  |  |  |  | 06.02.2021 | 20:35 | 22.6 | 25 | 30 | 2 | 0.1 | 20.42 | 12.52 | 279 | 8.79 | 13.3 | 1.7 | [5 empty] | 1 | [5 empty] | Suspected turbidity probe failure | 1.5 | 17.83 | 12.5 | 283 | 8.76 | 23 | 3.4 | [5 empty] | 1 | [5 empty] | Suspected turbidity probe failure
233 | S-19 | TS | 43.6113 | 90.0916 | 06.01.2021 | 11:54 | 06.02.2021 | 11:33 | NA | [7 empty] | tube missing | 06.02.2021 | 21:02 | 22.3 | 25 | 30 | 4 | 0.1 | 18.65 | 10.17 | 277 | 8.51 | 11 | 0.6 | [5 empty] | 1 | [5 empty] | Suspected turbidity probe failure | 3 | 18.1 | 9.94 | 280 | 8.42 | 11 | 1.1 | [5 empty] | 1 | [5 empty] | Suspected turbidity probe failure
233 | S-23 | TS | 43.6105 | 90.0928 | 06.01.2021 | 12:18 | 06.02.2021 | 11:41 | 69 |  | SG210928 |  | SG210929 |  | SG210930 |  |  | 06.02.2021 | 21:12 | 21.9 | 25 | 30 | 4.5 | 0.1 | 18.77 | 10.53 | 278 | 8.52 | 9.4 | 0.6 | [5 empty] | 1 | [5 empty] | Suspected turbidity probe failure | 3.5 | 17.83 | 8.7 | 282 | 8.3 | 10.4 | 2.6 | [5 empty] | 1 | [5 empty] | Suspected turbidity probe failure
233 | S-21 | TS | 43.6062 | 90.0922 | 06.01.2021 | 12:32 | 06.02.2021 | 13:13 | 35 |  | SG210936 |  | SG210437 | short |  |  |  | 06.02.2021 | 22:42 | 21.9 | 25 | 30 | 6.1 | 0.1 | 18.6 | 9.72 | 279 | 8.42 | 8 | 0.4 | [5 empty] | 1 | [5 empty] | Suspected turbidity probe failure | 5.1 | 15.8 | 1.67 | 288 | 7.79 | 3.9 | 1.5 | [5 empty] | 1 | [5 empty] | Suspected turbidity probe failure
233 | S-25 | TS | 43.6052 | 90.0958 | 06.01.2021 | 12:44 | 06.02.2021 | 13:05 | NA | [7 empty] | tube missing | 06.02.2021 | 22:33 | 22.5 | 25 | 30 | 7.1 | 0.1 | 18.97 | 10.2 | 279 | 8.49 | 9 | 0.4 | [5 empty] | 1 | [5 empty] | Suspected turbidity probe failure | 6.1 | 15.5 | 1.23 | 289 | 7.67 | 3.4 | 1.8 | [5 empty] | 1 | [5 empty] | Suspected turbidity probe failure
233 | S-20 | TS | 43.604 | 90.1 | 06.01.2021 | 13:01 | 06.02.2021 | 12:55 | 29 |  | SG210935 | [6 empty] | 06.02.2021 | 22:24 | 22.8 | 25 | 30 | 1.9 | 0.1 | 18.66 | 10.84 | 279 | 8.64 | 7.1 | 0.4 | [5 empty] | 1 | [5 empty] | Suspected turbidity probe failure | 1.4 | 17.88 | 9.97 | 280 | 8.53 | 10.9 | 3.4 | [5 empty] | 1 | [5 empty] | Suspected turbidity probe failure
233 | S-17 | TS | 43.6012 | 90.0967 | 06.01.2021 | 13:10 | 06.02.2021 | 12:45 | NA | [7 empty] | tube missing | 06.02.2021 | 22:15 | 21.5 | 25 | 30 | 6.9 | 0.1 | 19.45 | 10.15 | 279 | 8.56 | 6.9 | 0 | [5 empty] | 1 | [5 empty] | Suspected turbidity probe failure | 5.9 | 15.77 | 1.56 | 288 | 7.78 | 3.7 | 1.5 | [5 empty] | 1 | [5 empty] | Suspected turbidity probe failure
233 | S-24 | TS | 43.5996 | 90.0984 | 06.01.2021 | 13:24 | 06.02.2021 | 12:35 | 1 | [8 empty] | 06.02.2021 | 22:04 | 22.2 | 25 | 30 | 3.3 | 0.1 | 18.12 | 9.6 | 279 | 8.51 | 7 | 0.7 | [5 empty] | 1 | [5 empty] | Suspected turbidity probe failure | 2.8 | 17.54 | 8.96 | 281 | 8.34 | 8.3 | 0.9 | [5 empty] | 1 | [5 empty] | Suspected turbidity probe failure
233 | S-16 | TS | 43.5949 | 90.1003 | 06.01.2021 | 13:39 | 06.02.2021 | 12:21 | 83 |  | SG210932 |  | SG210933 |  | SG210934 |  |  | 06.02.2021 | 21:50 | 22.5 | 25 | 30 | 7.9 | 0.1 | 18.69 | 9.09 | 279 | 8.45 | 6 | 0 | [5 empty] | 1 | [5 empty] | Suspected turbidity probe failure | 6.9 | 14.9 | 1.83 | 287 | 7.72 | 2 | 0.2 | [5 empty] | 1 | [5 empty] | Suspected turbidity probe failure
233 | S-22 | TS | 43.5944 | 90.0965 | 06.01.2021 | 13:49 | 06.02.2021 | 12:13 | 0 | [8 empty] | 06.02.2021 | 21:41 | 21.5 | 25 | 30 | 5.2 | 0.1 | 19.74 | 9.22 | 279 | 8.45 | 3.4 | 0 | [5 empty] | 1 | [5 empty] | Suspected turbidity probe failure | 4.2 | 16.21 | 3.99 | 283 | 7.88 | 2.4 | 0.1 | [5 empty] | 1 | [5 empty] | Suspected turbidity probe failure
233 | S-18 | TS | 43.5909 | 90.0952 | 06.01.2021 | 14:05 | 06.02.2021 | 11:59 | 18 |  | SG210931 | [6 empty] | 06.02.2021 | 21:29 | 21.8 | 25 | 30 | 7.9 | 0.1 | 19.02 | 9.55 | 278 | 8.57 | 4.2 | 0 | [5 empty] | 1 | [5 empty] | Suspected turbidity probe failure | 6.9 | 14.65 | 0.75 | 288 | 7.24 | 2.2 | 0 | [5 empty] | 1 | [5 empty] | Suspected turbidity probe failure | SG210917 | SG210918 | SG210919

## data.dictionary
Field | Description | Format
lake.id | unique identifier for each reservoir | three digit numeric code
site.id | unique identifier for each sampling site within a reservoir | one or two letters, dash, two numeric digits (i.e. SU-12)
eval.status | status of each evaluated sampling site | two digit alphabetic code: 'TS': target sampled 'NS': Target, not sampled. Site not sampled due to resource constraints (ran out of time) 'PI': Physically inaccessible
lat | sampling site latitude | 8 digit numeric (xx.xxxxxx)
long | sampling site longitude | 8 digit numeric (xx.xxxxxx)
trap.deply.date | date of trap deployment | mm.dd.yyyy
trap.deply.time | time of trap deployment | military time (hh:mm)
trap.rtrvl.date | date of trap retrieval | mm.dd.yyyy
trap.rtrvl.time | time of trap retrieval | military time (hh:mm)
trap.volume | total volume of gas recovered from trap | mL
trap.volume.flag | >' if gas was lost during sampling and total volume is an underestimate. '<' if volume was below recorded graduation (e.g. < 1mL). Otherwise blank | > or <
trap.extn1 | code for first exetainer collected from trap | eight digit alphanumeric code (SG200185)
trap.extn1.notes | field notes
trap.extn2 | code for second exetainer collected from trap | eight digit alphanumeric code (SG200185)
trap.extn2.notes | field notes
trap.extn3 | code for third exetainer collected from trap | eight digit alphanumeric code (SG200185)
trap.extn3.notes | field notes
chamb.deply.date | floating chamber deployment date | mm.dd.yyyy
chamb.deply.time | floating chamber deployment time | military time (hh:mm)
chamb.water.temp | if shallow sonde measurements were not made when chamber was deployed, then enter water temperature from F3, otherwise blank | numeric (celcius)
chamb.grad.a | field crew recorded chamber graduations on both ends of chamber. Enter the first value here. | numeric
chamb.grad.b | field crew recorded chamber graduations on both ends of chamber. Enter the second value here. | numeric
site.depth | total depth at sampling site | numeric (meters)
sample.depth.s | shallow sampling depth. Nearly always 0.1 | numeric (meters)
temp.s | shallow water temperature | numeric (celcius)
do.mg.s | shallow dissolved oxygen | numeric (mg/L)
sp.cond.s | shallow specific conductivity | numeric (us/cm)
ph.s | shallow pH | numeric
chl.s | shallow chlorophyll | numeric (ug/L)
turb.s | shallow turbidity | numeric (NTU)
temp.s.flag | shallow water temperature flag. 1 if there was a problem, blank if no problem.
do.mg.s.flag | shallow dissolved oxygen flag. 1 if there was a problem, blank if no problem.
sp.cond.s.flag | shallow specific conductivity flag. 1 if there was a problem, blank if no problem.
ph.s.flag | shallow pH flag. 1 if there was a problem, blank if no problem.
chl.s.flag | shallow chlorophyll flag. 1 if there was a problem, blank if no problem.
turb.s.flag | shallow turbidity flag. 1 if there was a problem, blank if no problem.
temp.s.comment | any relevant comments from field and/or calibration data sheets
do.mg.s.comment | any relevant comments from field and/or calibration data sheets
sp.cond.s.comment | any relevant comments from field and/or calibration data sheets
ph.s.comment | any relevant comments from field and/or calibration data sheets
chl.s.comment | any relevant comments from field and/or calibration data sheets
turb.s.comment | any relevant comments from field and/or calibration data sheets
sample.depth.d | deep sampling depth. | numeric (meters)
temp.d | deep water temperature | numeric (celcius)
do.mg.d | deep dissolved oxygen | numeric (mg/L)
sp.cond.d | deep specific conductivity | numeric (us/cm)
ph.d | deep pH | numeric
chl.d | deep chlorophyll | numeric (ug/L)
turb.d | deep turbidity | numeric (NTU)
temp.d.flag | deep water temperature flag. 1 if there was a problem, blank if no problem.
do.mg.d.flag | deep dissolved oxygen flag. 1 if there was a problem, blank if no problem.
sp.cond.d.flag | deep specific conductivity flag. 1 if there was a problem, blank if no problem.
ph.d.flag | deep pH flag. 1 if there was a problem, blank if no problem.
chl.d.flag | deep chlorophyll flag. 1 if there was a problem, blank if no problem.
turb.d.flag | deep turbidity flag. 1 if there was a problem, blank if no problem.
temp.d.comment | any relevant comments from field and/or calibration data sheets
do.mg.d.comment | any relevant comments from field and/or calibration data sheets
sp.cond.d.comment | any relevant comments from field and/or calibration data sheets
ph.d.comment | any relevant comments from field and/or calibration data sheets
chl.d.comment | any relevant comments from field and/or calibration data sheets
turb.d.comment | any relevant comments from field and/or calibration data sheets
air.extn.1 | code for first air exetainer | eight digit alphanumeric code (SG200185)
air.extn.2 | code for second air exetainer | eight digit alphanumeric code (SG200185)
air.extn.3 | code for third air exetainer | eight digit alphanumeric code (SG200185)
ch4.check | ch4 concentration recorded after standard flow through analyzer for 1 minute. First cal check entered in first row. Additional cal checks entered in subsequent rows (only one row populated per cal check) | numeric
co2.check | co2 concentration recorded after standard flow through analyzer for 1 minute. First cal check entered in first row. Additional cal checks entered in subsequent rows (only one row populated per cal check) | numeric
ch4.co2.check.date | date of greenhouse gas analyzer cal check | mm.dd.yyyy
ch4.co2.check.start.time | time greenhouse gas analyzer cal check started | military time (hh:mm)

## dissolved.gas
F12
lake.id | site.id | sample.depth.m | dg.extn | dg.extn.temp | dg.notes | water.vol | air.vol | atm.pressure | air.temperature
233 | S-18 | 0.1 | SG210911 | 25.6 |  | 115 | 25 | 737.4 | 26.5
233 | S-18 | 0.1 | SG210912 | 26.1 |  | 115 | 25 | 737.4 | 26.5
233 | S-18 | 0.1 | SG210913 | 26.8 |  | 115 | 25 | 737.4 | 26.5
233 | S-18 | 6.9 | SG210914 | 25.3 |  | 115 | 25 | 737.4 | 26.5
233 | S-18 | 6.9 | SG210915 | 24.3 |  | 115 | 25 | 737.4 | 26.5
233 | S-18 | 6.9 | SG210916 | 23.6 |  | 115 | 25 | 737.4 | 26.5

## dissolved.gas.dictionay
Field | Description | Format
lake.id | unique identifier for each reservoir | three digit numeric code
site.id | unique identifier for each sampling site within a reservoir | one or two letters, dash, two numeric digits (i.e. SU-12)
sample.depth.m | dissolved gas sampling depth | numeric (m)
dg.extn | dissolved gas exetainer code | eight digit alphanumeric code (SG200185)
dg.extn.temp | headspace equilibration temperature | numeric (celcius)
dg.notes | field notes
water.vol | water volume for headspace equilibration. 115 unless stated otherwise | numeric (mL)
air.vol | air volume for headspace equilibration. 25 unless stated otherwise | numeric (mL)
atm.pressure | atmospheric pressure | numeric (mm Hg)
air.temperature | air temperature | numeric (celcius)