## data
lakeID | siteID | sample.depth.m | temp.C | do.mg.l | sp.cond.us.cm | pH | chl.a.ug.l | phyc.ug.l | turbidity.ntu | do.flag | cond.flag | pH.flag | chla.flag | turbidity.flag | do.comment | cond.comment | pH.comment | chla.comment | turbidity.comment
276 | U-20 | 0.1 | 21.8 | 9.3 | 232.3 | 8.47 | 0.6 | -0.03 | -2.14
276 | U-20 | 1 | 21.8 | 9.5 | 231.9 | 8.43 | 1.04 | -0.03 | -2.15
276 | U-20 | 2 | 21.5 | 9.5 | 230.9 | 8.44 | 1.32 | -0.04 | -2.13
276 | U-20 | 3 | 20.9 | 9.4 | 231.5 | 8.36 | 1.68 | -0.02 | -1.99
276 | U-20 | 3.3 | 20.7 | 7.8 | 248.8 | 7.9 | 1.77 | 0 | -1.48

## data.dictionary
lakeID | three digit numeric code '235'
siteID | one or two letters, dash, two digit numeric code 'SU-08'
sample.depth.m | measurement depth in meters
temp.C | water temperature in celsius
do.mg.l | dissolved oxygen in mg/L
sp.cond.us.cm | specific conductivity in us/cm
pH | pH
chl.a.ug.l | chlorophyll a in ug/L
turbidity.ntu | turbidity in NTU
do.flag | if no problem, blank, else '1'
cond.flag | if no problem, blank, else '1'
pH.flag | if no problem, blank, else '1'
chla.flag | if no problem, blank, else '1'
turbidity.flag | if no problem, blank, else '1'
do.comment | if no problem, blank, else explanatory comment 'failed post-deployment cal check'
cond.comment | if no problem, blank, else explanatory comment 'failed post-deployment cal check'
pH.comment | if no problem, blank, else explanatory comment 'failed post-deployment cal check'
chla.comment | if no problem, blank, else explanatory comment 'failed post-deployment cal check'
turbidity.comment | if no problem, blank, else explanatory comment 'failed post-deployment cal check'