## data
lakeID | siteID | sample.depth.m | temp.C | do.mg.l | sp.cond.us.cm | pH | chl.a.ug.l | turbidity.ntu | do.flag | cond.flag | pH.flag | chla.flag | turbidity.flag | do.comment | cond.comment | pH.comment | chla.comment | turbidity.comment
137 | SU-04 | 0.1 | 29.9 | 9.2 | 60 | 8.6 | 0.6 | 2.1
137 | SU-04 | 1 | 29.6 | 8.9 | 59 | 8.7 | 2.2 | 2
137 | SU-04 | 2 | 28.1 | 8.9 | 59 | 8.6 | 2.1 | 2.1
137 | SU-04 | 3 | 26.2 | 2.9 | 68 | 8.4 | 6.4 | 2.2
137 | SU-04 | 4 | 24.4 | 1 | 73 | 7.8 | 15.4 | 1.6
137 | SU-04 | 5 | 22 | 0.5 | 95 | 7.3 | 16.9 | 14.2
137 | SU-04 | 6 | 19.5 | 0.4 | 89 | 7.1 | 20.9 | 16
137 | SU-04 | 7 | 16.7 | 0.3 | 105 | 6.8 | 10.3 | 20.9
137 | SU-04 | 8 | 16 | 0.3 | 104 | 6.6 | 8 | 19.4
137 | SU-04 | 9 | 15.3 | 0.23 | 99 | 6.6 | 5.5 | 19.4

## data.dictionary
lakeID | three digit numeric code '235'
siteID | one or two letters, dash, two digit numeric code 'SU-08'
sample.depth.m | measurement depth in meters
temp.C | water temperature in celsius
do.mg.l | dissolved oxygen in mg/L
sp.cond.us.cm | specific conductivity in us/cm
pH | pH
chl.a.ug.l | chlorophyll a in ug/L
turbidity.ntu | turbidity in NTU
do.flag | if no problem, blank, else '1'
cond.flag | if no problem, blank, else '1'
pH.flag | if no problem, blank, else '1'
chla.flag | if no problem, blank, else '1'
turbidity.flag | if no problem, blank, else '1'
do.comment | if no problem, blank, else explanatory comment 'failed post-deployment cal check'
cond.comment | if no problem, blank, else explanatory comment 'failed post-deployment cal check'
pH.comment | if no problem, blank, else explanatory comment 'failed post-deployment cal check'
chla.comment | if no problem, blank, else explanatory comment 'failed post-deployment cal check'
turbidity.comment | if no problem, blank, else explanatory comment 'failed post-deployment cal check'