## data
lakeID | siteID | sample.depth.m | temp.C | do.mg.l | sp.cond.us.cm | pH | chl.a.ug.l | phyc.ug.l | turbidity.ntu | do.flag | cond.flag | pH.flag | chla.flag | phyc.flag | turbidity.flag | do.comment | cond.comment | pH.comment | chla.comment | phyc.comment | turbidity.comment
4 | S-03 | 0.1 | 28.59 | 9.04 | 55.1 | 8.91 | 11.14 |  | 2.8
4 | S-03 | 1 | 28.59 | 9.21 | 50.2 | 8.71 | 16.84 |  | 3
4 | S-03 | 2 | 28.55 | 9.08 | 49.9 | 8.64 | 21.13 |  | 3.1
4 | S-03 | 3 | 27.62 | 7.17 | 48.5 | 8.31 | 27.73 |  | 2.7
4 | S-03 | 4 | 25.99 | 0.08 | 45.1 | 7.05 | 20.24 |  | 3.1
4 | S-03 | 5 | 23.43 | 0 | 61 | 6.79 | 10.71 |  | 2.9
4 | S-03 | 6 | 22.15 | 0 | 63.9 | 6.63 | 7.66 |  | 2

## data.dictionary
lakeID | three digit numeric code '235'
siteID | one or two letters, dash, two digit numeric code 'SU-08'
sample.depth.m | measurement depth in meters
temp.C | water temperature in celsius
do.mg.l | dissolved oxygen in mg/L
sp.cond.us.cm | specific conductivity in us/cm
pH | pH
chl.a.ug.l | chlorophyll a in ug/L
phyc.ug.l | phycocyanin in ug/L
turbidity.ntu | turbidity in NTU
do.flag | if no problem, blank, else '1'
cond.flag | if no problem, blank, else '1'
pH.flag | if no problem, blank, else '1'
chla.flag | if no problem, blank, else '1'
phyc.flag | if no problem, blank, else '1'
turbidity.flag | if no problem, blank, else '1'
do.comment | if no problem, blank, else explanatory comment 'failed post-deployment cal check'
cond.comment | if no problem, blank, else explanatory comment 'failed post-deployment cal check'
pH.comment | if no problem, blank, else explanatory comment 'failed post-deployment cal check'
chla.comment | if no problem, blank, else explanatory comment 'failed post-deployment cal check'
phyc.comment | if no problem, blank, else explanatory comment 'failed post-deployment cal check'
turbidity.comment | if no problem, blank, else explanatory comment 'failed post-deployment cal check'