## data
lakeID | siteID | sample.depth.m | temp.C | do.mg.l | sp.cond.us.cm | pH | chl.a.ug.l | phyc.ug.l | turbidity.ntu | do.flag | cond.flag | pH.flag | chla.flag | phyc.flag | turbidity.flag | do.comment | cond.comment | pH.comment | chla.comment | phyc.comment | turbidity.comment
18 | S-26 | 0.1 | 33.1 | 7.7 | 21 | 6.8 | 18.8 |  | 42.4
18 | S-26 | 1 | 31.4 | 5.8 | 17 | 6.5 | 21.5 |  | 44.7
18 | S-26 | 2 | 30.7 | 1.3 | 18 | 6.1 | 12.3 |  | 50.7
18 | S-26 | 2.7 | 29.6 | 0.1 | 22 | 5.9 | 10.3 |  | 51.5

## data.dictionary
lakeID | three digit numeric code '235'
siteID | one or two letters, dash, two digit numeric code 'SU-08'
sample.depth.m | measurement depth in meters
temp.C | water temperature in celsius
do.mg.l | dissolved oxygen in mg/L
sp.cond.us.cm | specific conductivity in us/cm
pH | pH
chl.a.ug.l | chlorophyll a in ug/L
phyc.ug.l | phycocyanin in ug/L
turbidity.ntu | turbidity in NTU
do.flag | if no problem, blank, else '1'
cond.flag | if no problem, blank, else '1'
pH.flag | if no problem, blank, else '1'
chla.flag | if no problem, blank, else '1'
phyc.flag | if no problem, blank, else '1'
turbidity.flag | if no problem, blank, else '1'
do.comment | if no problem, blank, else explanatory comment 'failed post-deployment cal check'
cond.comment | if no problem, blank, else explanatory comment 'failed post-deployment cal check'
pH.comment | if no problem, blank, else explanatory comment 'failed post-deployment cal check'
chla.comment | if no problem, blank, else explanatory comment 'failed post-deployment cal check'
phyc.comment | if no problem, blank, else explanatory comment 'failed post-deployment cal check'
turbidity.comment | if no problem, blank, else explanatory comment 'failed post-deployment cal check'