## data
lakeID | siteID | sample.depth.m | temp.C | do.mg.l | sp.cond.us.cm | pH | chl.a.ug.l | phyc.ug.l | turbidity.ntu | do.flag | cond.flag | pH.flag | chla.flag | turbidity.flag | do.comment | cond.comment | pH.comment | chla.comment | turbidity.comment
136 | U-13 | 0.1 | 30.14 | 8.99 | 140 | 9.15 | 9.06 |  | 1.5
136 | U-13 | 1 | 30.08 | 9.08 | 137.1 | 9.02 | 13.65 |  | 1.4
136 | U-13 | 1.5 | 30.15 | 9.23 | 137.1 | 9.14 | 17.45 |  | 1.5
136 | U-13 | 2 | 30.19 | 9.12 | 136.9 | 9.14 | 17.99 |  | 1.4
136 | U-13 | 2.5 | 30.14 | 8.99 | 136.9 | 9.13 | 18.34 |  | 1.6
136 | U-13 | 3 | 29.56 | 3.37 | 142.1 | 8.62 | 26.26 |  | 2.8
136 | U-13 | 3.5 | 26.49 | 1.32 | 139.9 | 7.51 | 26.65 |  | 5.1
136 | U-13 | 4 | 23.19 | 1.75 | 144.1 | 7.21 | 27.25 |  | 5.7
136 | U-13 | 4.5 | 18.73 | 0.37 | 159.3 | 7.03 | 350.21 |  | 34.2

## data.dictionary
lakeID | three digit numeric code '235'
siteID | one or two letters, dash, two digit numeric code 'SU-08'
sample.depth.m | measurement depth in meters
temp.C | water temperature in celsius
do.mg.l | dissolved oxygen in mg/L
sp.cond.us.cm | specific conductivity in us/cm
pH | pH
chl.a.ug.l | chlorophyll a in ug/L
turbidity.ntu | turbidity in NTU
do.flag | if no problem, blank, else '1'
cond.flag | if no problem, blank, else '1'
pH.flag | if no problem, blank, else '1'
chla.flag | if no problem, blank, else '1'
turbidity.flag | if no problem, blank, else '1'
do.comment | if no problem, blank, else explanatory comment 'failed post-deployment cal check'
cond.comment | if no problem, blank, else explanatory comment 'failed post-deployment cal check'
pH.comment | if no problem, blank, else explanatory comment 'failed post-deployment cal check'
chla.comment | if no problem, blank, else explanatory comment 'failed post-deployment cal check'
turbidity.comment | if no problem, blank, else explanatory comment 'failed post-deployment cal check'