## data
lakeID | siteID | sample.depth.m | temp.C | do.mg.l | sp.cond.us.cm | pH | chl.a.ug.l | turbidity.ntu | do.flag | cond.flag | pH.flag | chla.flag | turbidity.flag | do.comment | cond.comment | pH.comment | chla.comment | turbidity.comment
148 | U-07 | 0.5 | 28.3 | 2.3 | 902 | 7.6 | 7.6 | 1733.1 |  |  |  |  | 1 |  |  |  |  | probe is not working-values too high
148 | U-07 | 1.5 | 28.3 | 2.22 | 886 | 7.6 | 7.6 | 1733.1 |  |  |  |  | 1 |  |  |  |  | probe is not working-values too high
148 | U-07 | 2.4 | 28.3 | 2.19 | 887 | 7.54 | 7.6 | 1733.2 |  |  |  |  | 1 |  |  |  |  | probe is not working-values too high
148 | U-07 | 3.5 | 28.3 | 2.2 | 887 | 7.52 | 7.6 | 1733.1 |  |  |  |  | 1 |  |  |  |  | probe is not working-values too high
148 | U-07 | 4.8 | 28.3 | 2.15 | 887 | 7.5 | 7.6 | 1733.1 |  |  |  |  | 1 |  |  |  |  | probe is not working-values too high
148 | U-07 | 5.6 | 28.3 | 2.14 | 887 | 7.48 | 7.6 | 1733 |  |  |  |  | 1 |  |  |  |  | probe is not working-values too high
148 | U-07 | 6.7 | 28.3 | 2.04 | 887 | 7.43 | 7.6 | 1732.6 |  |  |  |  | 1 |  |  |  |  | probe is not working-values too high
148 | U-07 | 7.7 | 28.2 | 2.04 | 888 | 7.4 | 7.6 | 1732 |  |  |  |  | 1 |  |  |  |  | probe is not working-values too high
148 | U-07 | 8.7 | 28.2 | 1.93 | 889 | 7.37 | 7.6 | 1731.9 |  |  |  |  | 1 |  |  |  |  | probe is not working-values too high
148 | U-07 | 9.7 | 28.2 | 1.89 | 887 | 7.35 | 7.6 | 1731.6 |  |  |  |  | 1 |  |  |  |  | probe is not working-values too high
148 | U-07 | 10.7 | 28.2 | 0.69 | 885 | 7.35 | 7.6 | 1731.2 |  |  |  |  | 1 |  |  |  |  | probe is not working-values too high
148 | U-07 | 11.6 | 28.1 | 0.58 | 882 | 7.36 | 7.6 | 1729.7 |  |  |  |  | 1 |  |  |  |  | probe is not working-values too high
148 | U-07 | 12.7 | 28.1 | 0.58 | 1175 | 7.29 | 7.6 | 1729.8 |  |  |  |  | 1 |  |  |  |  | probe is not working-values too high

## data.dictionary
lakeID | three digit numeric code '235'
siteID | one or two letters, dash, two digit numeric code 'SU-08'
sample.depth.m | measurement depth in meters
temp.C | water temperature in celsius
do.mg.l | dissolved oxygen in mg/L
sp.cond.us.cm | specific conductivity in us/cm
pH | pH
chl.a.ug.l | chlorophyll a in ug/L
turbidity.ntu | turbidity in NTU
do.flag | if no problem, blank, else '1'
cond.flag | if no problem, blank, else '1'
pH.flag | if no problem, blank, else '1'
chla.flag | if no problem, blank, else '1'
turbidity.flag | if no problem, blank, else '1'
do.comment | if no problem, blank, else explanatory comment 'failed post-deployment cal check'
cond.comment | if no problem, blank, else explanatory comment 'failed post-deployment cal check'
pH.comment | if no problem, blank, else explanatory comment 'failed post-deployment cal check'
chla.comment | if no problem, blank, else explanatory comment 'failed post-deployment cal check'
turbidity.comment | if no problem, blank, else explanatory comment 'failed post-deployment cal check'