## data
F1 |  |  | F2 | [15 empty] | F3 | [6 empty] | F5 | [44 empty] | F7 |  |  | F12
lake.id | site.id | eval.status | lat | long | trap.deply.date | trap.deply.time | trap.rtrvl.date | trap.rtrvl.time | trap.volume | trap.volume.flag | trap.extn1 | trap.extn1.notes | trap.extn2 | trap.extn2.notes | trap.extn3 | trap.extn3.notes | trap.flag | trap.comment | chamb.deply.date | chamb.deply.time | chamb.water.temp | chamb.grad.a | chamb.grad.b | chamb.flag | chamb.comment | site.depth | sample.depth.s | temp.s | do.mg.s | sp.cond.s | ph.s | chl.s | phyc.s | turb.s | temp.s.flag | do.mg.s.flag | sp.cond.s.flag | ph.s.flag | chl.s.flag | phyc.s.flag | turb.s.flag | temp.s.comment | do.mg.s.comment | sp.cond.s.comment | ph.s.comment | chl.s.comment | phyc.s.comment | turb.s.comment | sample.depth.d | temp.d | do.mg.d | sp.cond.d | ph.d | chl.d | phyc.d | turb.d | temp.d.flag | do.mg.d.flag | sp.cond.d.flag | ph.d.flag | chl.d.flag | phyc.d.flag | turb.d.flag | temp.d.comment | do.mg.d.comment | sp.cond.d.comment | ph.d.comment | chl.d.comment | phyc.d.comment | turb.d.comment | air.extn.1 | air.extn.2 | air.extn.3 | ch4.check | co2.check | ch4.co2.check.date | ch4.co2.check.start.time
190 | 8 | TS | 36.6968 | 96.4056 | 06.08.2022 | 15:20 | 06.09.2022 | 8:47 | 0 | [9 empty] | 06.09.2022 | 9:27 | 24.7 | 1 | 1 |  |  | 7.2 | 0.1 | 24.61 | 9.2 | 242 | 8.25 | 6.4 |  | -2.8 | [6 empty] | 1 | [6 empty] | Post deployment calibration check failure (sonde was working correctly at this reservoir but don't have calibration check to prove that) | 6.2 | 19.63 | 6.48 | 232 | 7.7 | 7.6 |  | 8.9 | [6 empty] | 1 | [6 empty] | Post deployment calibration check failure (sonde was working correctly at this reservoir but don't have calibration check to prove that) | SG220229 | SG220230 | SG220231
190 | 4 | TS | 36.6974 | 96.4055 | 06.08.2022 | 15:29 | 06.09.2022 | 9:33 | 0 | [9 empty] | 06.09.2022 | 9:39 | 25.1 | 1 | 1 |  |  | 7.1 | 0.1 | 24.52 | 8.07 | 243 | 8.29 | 6.6 |  | -8.6 | [6 empty] | 1 | [6 empty] | Post deployment calibration check failure (sonde was working correctly at this reservoir but don't have calibration check to prove that) | 6 | 20.47 | 7.81 | 230 | 7.6 | 7.6 |  | 8.3 | [6 empty] | 1 | [6 empty] | Post deployment calibration check failure (sonde was working correctly at this reservoir but don't have calibration check to prove that)
190 | 3 | TS | 36.6991 | 96.4105 | 06.08.2022 | 15:35 | 06.09.2022 | 9:45 | 0.5 | < | [8 empty] | 06.09.2022 | 9:51 | 25.2 | 1 | 1 |  |  | 15.2 | 0.1 | 24.68 | 8.71 | 244 | 8.2 | 7.6 |  | -7.5 | [6 empty] | 1 | [6 empty] | Post deployment calibration check failure (sonde was working correctly at this reservoir but don't have calibration check to prove that) | 14.2 | 16.52 | 3.33 | 229 | 7.38 | 6.3 |  | 4.4 | [6 empty] | 1 | [6 empty] | Post deployment calibration check failure (sonde was working correctly at this reservoir but don't have calibration check to prove that)
190 | 7 | TS | 36.6995 | 96.4108 | 06.08.2022 | 15:42 | 06.09.2022 | 9:57 | 0 | [9 empty] | 06.09.2022 | 10:00 | 25.2 | 1 | 1 |  |  | 14.8 | 0.1 | 24.68 | 9.15 | 244 | 8.25 | 5.3 |  | -4.7 | [6 empty] | 1 | [6 empty] | Post deployment calibration check failure (sonde was working correctly at this reservoir but don't have calibration check to prove that) | 13.8 | 16.65 | 10.3 | 228 | 7.4 | 6.2 |  | 0 | [6 empty] | 1 | [6 empty] | Post deployment calibration check failure (sonde was working correctly at this reservoir but don't have calibration check to prove that)
190 | 6 | TS | 36.703 | 96.4134 | 06.08.2022 | 15:48 | 06.09.2022 | 10:06 | 0 | [9 empty] | 06.09.2022 | 10:09 | 25.2 | 1 | 1 |  |  | 6.4 | 0.1 | 24.57 | 5.1 | 297 | 8.15 | 5.8 |  | 5.4 | [6 empty] | 1 | [6 empty] | Post deployment calibration check failure (sonde was working correctly at this reservoir but don't have calibration check to prove that) | 5.5 | 19.86 | 5.3 | 235 | 7.5 | 7.1 |  | 27 | [6 empty] | 1 | [6 empty] | Post deployment calibration check failure (sonde was working correctly at this reservoir but don't have calibration check to prove that)
190 | 10 | TS | 36.7042 | 96.4148 | 06.08.2022 | 15:58 | 06.09.2022 | 10:12 | 3 | [9 empty] | 06.09.2022 | 10:18 | 24.9 | 1 | 1 |  |  | 9.9 | 0.1 | 24.68 | 8.99 | 298 | 8.17 | 6.6 |  | 4.4 | [6 empty] | 1 | [6 empty] | Post deployment calibration check failure (sonde was working correctly at this reservoir but don't have calibration check to prove that) | 9 | 18.01 | 8.26 | 232 | 7.39 | 6.9 |  | 16.1 | [6 empty] | 1 | [6 empty] | Post deployment calibration check failure (sonde was working correctly at this reservoir but don't have calibration check to prove that)
190 | 2 | TS | 36.7073 | 96.4169 | 06.08.2022 | 16:05 | 06.09.2022 | 10:25 | 0.5 | < | [8 empty] | 06.09.2022 | 10:27 | 25.3 | 1 | 1 |  |  | 12.7 | 0.1 | 24.69 | 8.82 | 246 | 8.13 | 5.5 |  | -1.5 | [6 empty] | 1 | [6 empty] | Post deployment calibration check failure (sonde was working correctly at this reservoir but don't have calibration check to prove that) | 11.7 | 17.09 | 2.9 | 233 | 7.34 | 5.8 |  | 9.1 | [6 empty] | 1 | [6 empty] | Post deployment calibration check failure (sonde was working correctly at this reservoir but don't have calibration check to prove that)
190 | 34 | TS | 36.7095 | 96.4204 | 06.08.2022 | 16:13 | 06.09.2022 | 10:35 | 0.5 | < | [8 empty] | 06.09.2022 | 10:37 | 25.3 | 1 | 1 |  |  | 8.1 | 0.1 | 25.17 | 9.05 | 255 | 8.23 | 8.6 |  | -0.8 | [6 empty] | 1 | [6 empty] | Post deployment calibration check failure (sonde was working correctly at this reservoir but don't have calibration check to prove that) | 7 | 19.21 | 3.41 | 236 | 7.45 | 7.1 |  | 28.2 | [6 empty] | 1 | [6 empty] | Post deployment calibration check failure (sonde was working correctly at this reservoir but don't have calibration check to prove that)
190 | 32 | TS | 36.7123 | 96.4223 | 06.08.2022 | 16:24 | 06.09.2022 | 10:45 | 0 | [9 empty] | 06.09.2022 | 10:47 | 25.4 | 1 | 1 |  |  | 3.6 | 0.1 | 24.87 | 8.61 | 254 | 8.14 | 7.5 |  | -3.2 | [6 empty] | 1 | [6 empty] | Post deployment calibration check failure (sonde was working correctly at this reservoir but don't have calibration check to prove that) | 3 | 23.06 | 7.5 | 240 | 7.91 | 6.1 |  | 1.4 | [6 empty] | 1 | [6 empty] | Post deployment calibration check failure (sonde was working correctly at this reservoir but don't have calibration check to prove that)
190 | 31 | TS | 36.7152 | 96.4277 | 06.08.2022 | 16:32 | 06.09.2022 | 10:54 | 9.5 | [9 empty] | 06.09.2022 | 10:56 | 25.6 | 1 | 1 |  |  | 6.5 | 0.1 | 24.61 | 8.33 | 256 | 8.13 | 5.2 |  | 6.8 | [6 empty] | 1 | [6 empty] | Post deployment calibration check failure (sonde was working correctly at this reservoir but don't have calibration check to prove that) | 5.5 | 20.76 | 3.54 | 251 | 7.51 | 9.1 |  | 57.4 | [6 empty] | 1 | [6 empty] | Post deployment calibration check failure (sonde was working correctly at this reservoir but don't have calibration check to prove that)
190 | 35 | TS | 36.7161 | 96.4299 | 06.08.2022 | 16:39 | 06.09.2022 | 11:03 | 7 | [9 empty] | 06.09.2022 | 11:05 | 25.4 | 1 | 1 |  |  | 3.8 | 0.1 | 24.79 | 8.3 | 261 | 8.15 | 6.3 |  | 3.6 | [6 empty] | 1 | [6 empty] | Post deployment calibration check failure (sonde was working correctly at this reservoir but don't have calibration check to prove that) | 3.3 | 22.43 | 5.38 | 247 | 7.64 | 7.1 |  | 25.1 | [6 empty] | 1 | [6 empty] | Post deployment calibration check failure (sonde was working correctly at this reservoir but don't have calibration check to prove that)
190 | 33 | TS | 36.7192 | 96.4299 | 06.08.2022 | 16:45 | 06.09.2022 | 11:13 | 18 |  | SG221122 | [7 empty] | 06.09.2022 | 11:18 | 25.2 | 1 | 1 |  |  | 3.2 | 0.1 | 24.37 | 8.24 | 253 | 8.08 | 5.7 |  | -0.6 | [6 empty] | 1 | [6 empty] | Post deployment calibration check failure (sonde was working correctly at this reservoir but don't have calibration check to prove that) | 2.7 | 23.27 | 5.5 | 256 | 7.66 | 6.5 |  | 25.7 | [6 empty] | 1 | [6 empty] | Post deployment calibration check failure (sonde was working correctly at this reservoir but don't have calibration check to prove that)
190 | 9 | TS | 36.7052 | 96.4226 | 06.08.2022 | 16:54 | 06.09.2022 | 11:29 | 3 | [9 empty] | 06.09.2022 | 11:31 | 26.1 | 1 | 1 |  |  | 3.1 | 0.1 | 25 | 8.26 | 244 | 8.26 | 7.5 |  | -4.7 | [6 empty] | 1 | [6 empty] | Post deployment calibration check failure (sonde was working correctly at this reservoir but don't have calibration check to prove that) | 2.5 | 24.75 | 8.35 | 245 | 8.1 | 7.2 |  | -4.3 | [6 empty] | 1 | [6 empty] | Post deployment calibration check failure (sonde was working correctly at this reservoir but don't have calibration check to prove that)
190 | 1 | TS | 36.7025 | 96.4242 | 06.08.2022 | 17:01 | 06.09.2022 | 11:35 | 2 | [9 empty] | 06.09.2022 | 11:39 | 26.1 | 1 | 1 |  |  | 9.3 | 0.1 | 25.08 | 9.02 | 242 | 8.28 | 8.9 |  | -3 | [6 empty] | 1 | [6 empty] | Post deployment calibration check failure (sonde was working correctly at this reservoir but don't have calibration check to prove that) | 8.3 | 17.93 | 2.23 | 240 | 7.42 | 6.2 |  | 18.1 | [6 empty] | 1 | [6 empty] | Post deployment calibration check failure (sonde was working correctly at this reservoir but don't have calibration check to prove that)
190 | 5 | TS | 36.7045 | 96.4295 | 06.08.2022 | 17:08 | 06.09.2022 | 11:46 | 0.5 | < | [8 empty] | 06.09.2022 | 11:50 | 26.1 | 1 | 1 |  |  | 3.9 | 0.1 | 25.24 | 8.87 | 244 | 8.17 | 10.1 |  | 2.7 | [6 empty] | 1 | [6 empty] | Post deployment calibration check failure (sonde was working correctly at this reservoir but don't have calibration check to prove that) | 3.5 | 22.22 | 7.12 | 237 | 7.83 | 7.1 |  | 40.2 | [6 empty] | 1 | [6 empty] | Post deployment calibration check failure (sonde was working correctly at this reservoir but don't have calibration check to prove that)
Note on BW3: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: No cal check CH4-190 - out of calibration gas

## data.dictionary
Field | Description | Format
lake.id | unique identifier for each reservoir | numeric (no letters or dash)
site.id | unique identifier for each sampling site within a reservoir | numeric (no letters or dash)
eval.status | status of each evaluated sampling site | two digit alphabetic code: 'TS': target sampled 'NS': Target, not sampled. Site not sampled due to resource constraints (ran out of time) 'PI': Physically inaccessible
lat | sampling site latitude | 8 digit numeric (xx.xxxxxx)
long | sampling site longitude | 8 digit numeric (xx.xxxxxx)
trap.deply.date | date of trap deployment | mm.dd.yyyy
trap.deply.time | time of trap deployment | military time (hh:mm)
trap.rtrvl.date | date of trap retrieval | mm.dd.yyyy
trap.rtrvl.time | time of trap retrieval | military time (hh:mm)
trap.volume | total volume of gas recovered from trap | mL
trap.volume.flag | >' if gas was lost during sampling and total volume is an underestimate. '<' if volume was below recorded graduation (e.g. < 1mL). Otherwise blank | > or <
trap.extn1 | code for first exetainer collected from trap | eight digit alphanumeric code (SG200185)
trap.extn1.notes | field notes
trap.extn2 | code for second exetainer collected from trap | eight digit alphanumeric code (SG200185)
trap.extn2.notes | field notes
trap.extn3 | code for third exetainer collected from trap | eight digit alphanumeric code (SG200185)
trap.extn3.notes | field notes
trap.flag | 1 if there was a problem, blank if no problem. | numeric
trap.comment | any relevant comments from field sheets
chamb.deply.date | floating chamber deployment date | mm.dd.yyyy
chamb.deply.time | floating chamber deployment time | military time (hh:mm)
chamb.water.temp | if shallow sonde measurements were not made when chamber was deployed, then enter water temperature from F3, otherwise blank | numeric (celcius)
chamb.grad.a | field crew recorded chamber graduations on both ends of chamber. Enter the first value here. | numeric
chamb.grad.b | field crew recorded chamber graduations on both ends of chamber. Enter the second value here. | numeric
chamb.flag | 1 if there was a problem, blank if no problem. | numeric
chamb.comment | any relevant comments from field sheets
site.depth | total depth at sampling site | numeric (meters)
sample.depth.s | shallow sampling depth. Nearly always 0.1 | numeric (meters)
temp.s | shallow water temperature | numeric (celcius)
do.mg.s | shallow dissolved oxygen | numeric (mg/L)
sp.cond.s | shallow specific conductivity | numeric (us/cm)
ph.s | shallow pH | numeric
chl.s | shallow chlorophyll | numeric (ug/L)
phyc.s | shallow phycocyanin | numeric (ug/L)
turb.s | shallow turbidity | numeric (NTU)
temp.s.flag | shallow water temperature flag. 1 if there was a problem, blank if no problem.
do.mg.s.flag | shallow dissolved oxygen flag. 1 if there was a problem, blank if no problem.
sp.cond.s.flag | shallow specific conductivity flag. 1 if there was a problem, blank if no problem.
ph.s.flag | shallow pH flag. 1 if there was a problem, blank if no problem.
chl.s.flag | shallow chlorophyll flag. 1 if there was a problem, blank if no problem.
phyc.s.flag | shallow phycocyanin flag. 1 if there was a problem, blank if no problem.
turb.s.flag | shallow turbidity flag. 1 if there was a problem, blank if no problem.
temp.s.comment | any relevant comments from field and/or calibration data sheets
do.mg.s.comment | any relevant comments from field and/or calibration data sheets
sp.cond.s.comment | any relevant comments from field and/or calibration data sheets
ph.s.comment | any relevant comments from field and/or calibration data sheets
chl.s.comment | any relevant comments from field and/or calibration data sheets
phyc.s.comment | any relevant comments from field and/or calibration data sheets
turb.s.comment | any relevant comments from field and/or calibration data sheets
sample.depth.d | deep sampling depth. | numeric (meters)
temp.d | deep water temperature | numeric (celcius)
do.mg.d | deep dissolved oxygen | numeric (mg/L)
sp.cond.d | deep specific conductivity | numeric (us/cm)
ph.d | deep pH | numeric
chl.d | deep chlorophyll | numeric (ug/L)
phyc.d | deep phycocyanin | numeric (ug/L)
turb.d | deep turbidity | numeric (NTU)
temp.d.flag | deep water temperature flag. 1 if there was a problem, blank if no problem.
do.mg.d.flag | deep dissolved oxygen flag. 1 if there was a problem, blank if no problem.
sp.cond.d.flag | deep specific conductivity flag. 1 if there was a problem, blank if no problem.
ph.d.flag | deep pH flag. 1 if there was a problem, blank if no problem.
chl.d.flag | deep chlorophyll flag. 1 if there was a problem, blank if no problem.
phyc.d.flag | deep phycocyanin flag. 1 if there was a problem, blank if no problem.
turb.d.flag | deep turbidity flag. 1 if there was a problem, blank if no problem.
temp.d.comment | any relevant comments from field and/or calibration data sheets
do.mg.d.comment | any relevant comments from field and/or calibration data sheets
sp.cond.d.comment | any relevant comments from field and/or calibration data sheets
ph.d.comment | any relevant comments from field and/or calibration data sheets
chl.d.comment | any relevant comments from field and/or calibration data sheets
phyc.d.comment | any relevant comments from field and/or calibration data sheets
turb.d.comment | any relevant comments from field and/or calibration data sheets
air.extn.1 | code for first air exetainer | eight digit alphanumeric code (SG200185)
air.extn.2 | code for second air exetainer | eight digit alphanumeric code (SG200185)
air.extn.3 | code for third air exetainer | eight digit alphanumeric code (SG200185)
ch4.check | ch4 concentration recorded after standard flow through analyzer for 1 minute. First cal check entered in first row. Additional cal checks entered in subsequent rows (only one row populated per cal check) | numeric
co2.check | co2 concentration recorded after standard flow through analyzer for 1 minute. First cal check entered in first row. Additional cal checks entered in subsequent rows (only one row populated per cal check) | numeric
ch4.co2.check.date | date of greenhouse gas analyzer cal check | mm.dd.yyyy
ch4.co2.check.start.time | time greenhouse gas analyzer cal check started | military time (hh:mm)

## dissolved.gas
F12
lake.id | site.id | sample.depth.m | dg.extn | dg.extn.temp | dg.notes | water.vol | air.vol | atm.pressure | air.temperature
190 | SU-08 | 0.1 | SG220232 | 24.7 |  | 115 | 25 | 742.3 | 22.8
190 | SU-08 | 0.1 | SG220233 | 24.7 |  | 115 | 25 | 742.3 | 22.8
190 | SU-08 | 0.1 | SG220235 | 24.7 |  | 115 | 25 | 742.3 | 22.8
190 | SU-08 | 6 | SG220236 | 21.1 |  | 115 | 25 | 742.3 | 22.8
190 | SU-08 | 6 | SG220237 | 21.1 |  | 115 | 25 | 742.3 | 22.8
190 | SU-08 | 6 | SG220238 | 21.1 |  | 115 | 25 | 742.3 | 22.8

## dissolved.gas.dictionay
Field | Description | Format
lake.id | unique identifier for each reservoir | three digit numeric code
site.id | unique identifier for each sampling site within a reservoir | one or two letters, dash, two numeric digits (i.e. SU-12)
sample.depth.m | dissolved gas sampling depth | numeric (m)
dg.extn | dissolved gas exetainer code | eight digit alphanumeric code (SG200185)
dg.extn.temp | headspace equilibration temperature | numeric (celcius)
dg.notes | field notes
water.vol | water volume for headspace equilibration. 115 unless stated otherwise | numeric (mL)
air.vol | air volume for headspace equilibration. 25 unless stated otherwise | numeric (mL)
atm.pressure | atmospheric pressure | numeric (mm Hg)
air.temperature | air temperature | numeric (celcius)