## data
F1 |  |  | F2 | [15 empty] | F3 | [6 empty] | F5 | [44 empty] | F7 |  |  | F12
lake.id | site.id | eval.status | lat | long | trap.deply.date | trap.deply.time | trap.rtrvl.date | trap.rtrvl.time | trap.volume | trap.volume.flag | trap.extn1 | trap.extn1.notes | trap.extn2 | trap.extn2.notes | trap.extn3 | trap.extn3.notes | trap.flag | trap.comment | chamb.deply.date | chamb.deply.time | chamb.water.temp | chamb.grad.a | chamb.grad.b | chamb.flag | chamb.comment | site.depth | sample.depth.s | temp.s | do.mg.s | sp.cond.s | ph.s | chl.s | phyc.s | turb.s | temp.s.flag | do.mg.s.flag | sp.cond.s.flag | ph.s.flag | chl.s.flag | phyc.s.flag | turb.s.flag | temp.s.comment | do.mg.s.comment | sp.cond.s.comment | ph.s.comment | chl.s.comment | phyc.s.comment | turb.s.comment | sample.depth.d | temp.d | do.mg.d | sp.cond.d | ph.d | chl.d | phyc.d | turb.d | temp.d.flag | do.mg.d.flag | sp.cond.d.flag | ph.d.flag | chl.d.flag | phyc.d.flag | turb.d.flag | temp.d.comment | do.mg.d.comment | sp.cond.d.comment | ph.d.comment | chl.d.comment | phyc.d.comment | turb.d.comment | air.extn.1 | air.extn.2 | air.extn.3 | ch4.check | co2.check | ch4.co2.check.date | ch4.co2.check.start.time
247 | U-1 | TS | 36.6716 | 106.7036 | 08.18.2022 | 17:45 | 08.19.2022 | 12:03 | 2 | [9 empty] | 08.20.2022 | 17:31 | 21.8 | 25 | 25 |  |  | 15.8 | 0.1 | 22.7 | 7.24 | 229.7 | 8.59 | -8.72 | 0.05 | 6 | [14 empty] | 14.8 | 14.5 | 5.22 | 229.1 | 7.93 | -9.97 | 0 | 17.35 | [14 empty] | SG220902 | SG220903 | SG220904 | 2.0706 | 404.36 | 08.20.2022 | 17:44
247 | U-4 | TS | 36.6907 | 106.7009 | 08.18.2022 | 18:10 | 08.19.2022 | 12:22 | 1 | [9 empty] | 08.20.2022 | 16:20 | 21.6 | 25 | 25 |  |  | 16.3 | 0.1 | 22.5 | 7.53 | 231.9 | 8.69 | -6.76 | 0.09 | 6.77 | [14 empty] | 15.3 | 14.8 | 4.63 | 234.7 | 7.92 | -9.55 | 0.03 | 39.58
247 | U-2 | TS | 36.6873 | 106.7066 | 08.18.2022 | 18:25 | 08.19.2022 | 12:33 | 3 | [9 empty] | 08.20.2022 | 16:30 | 21.5 | 25 | 25 |  |  | 18 | 0.1 | 22.7 | 7.5 | 231.3 | 8.64 | -8.97 | 0.03 | 6.14 | [14 empty] | 17 | 14.4 | 4.96 | 232.9 | 7.93 | -9.71 | 0 | 27.73
247 | U-13 | TS | 36.6838 | 106.7079 | 08.18.2022 | 18:30 | 08.19.2022 | 12:42 | 1 | < | [8 empty] | 08.20.2022 | 16:39 | 21.5 | 25 | 25 |  |  | 20.6 | 0.1 | 22.8 | 7.46 | 230.5 | 8.63 | -8.33 | 0.04 | 6.23 | [14 empty] | 19.6 | 13.5 | 5.12 | 233 | 7.92 | -9.6 | 0.01 | 28.06
247 | U-5 | TS | 36.6808 | 106.7127 | 08.18.2022 | 18:36 | 08.19.2022 | 12:50 | 2 | [9 empty] | 08.20.2022 | 16:49 | 21.3 | 25 | 25 |  |  | 9.6 | 0.1 | 23.1 | 7.37 | 231.6 | 8.61 | -8.8 | 0.04 | 6.53 | [14 empty] | 8.6 | 17.9 | 4.05 | 225.8 | 7.84 | -9.85 | 0 | 16.06
247 | U-9 | TS | 36.6783 | 106.7079 | 08.18.2022 | 18:43 | 08.19.2022 | 12:58 | 17 |  | SG220900 | [7 empty] | 08.20.2022 | 17:00 | 21.5 | 25 | 25 |  |  | 21.6 | 0.1 | 23 | 7.38 | 230.7 | 8.61 | -8.7 | 0.08 | 6.55 | [14 empty] | 20.6 | 13.3 | 5.33 | 231 | 7.91 | -9.86 | 0.01 | 20.71
247 | U-12 | TS | 36.6791 | 106.7013 | 08.18.2022 | 18:54 | 08.19.2022 | 11:12 | 2 | [9 empty] | 08.20.2022 | 17:12 | 21.5 | 25 | 25 |  |  | 22.1 | 0.1 | 22.3 | 7.24 | 229.3 | 8.54 | -8.9 | 0.03 | 6.48 | [14 empty] | 21.1 | 12.9 | 5.27 | 231.8 | 7.82 | -9.7 | 0 | 24.96
247 | U-14 | TS | 36.6991 | 106.674 | 08.19.2022 | 9:55 | 08.20.2022 | 12:18 | 2 | [9 empty] | 08.20.2022 | 14:24 | 21.2 | 25 | 25 |  |  | 12 | 0.1 | 21.6 | 7.17 | 223.1 | 8.49 | -6.11 | 0.15 | 8.19 | [14 empty] | 11 | 16.8 | 4.95 | 216.7 | 8.1 | -8.05 | 0.07 | 119.2
247 | U-10 | TS | 36.6932 | 106.6772 | 08.19.2022 | 10:12 | 08.20.2022 | 12:32 | 1 | < | [8 empty] | 08.20.2022 | 14:37 | 21.3 | 25 | 25 |  |  | 18.2 | 0.1 | 21.6 | 7.13 | 224.5 | 8.52 | -7.44 | 0.05 | 8.01 | [14 empty] | 17.2 | 14.1 | 4.75 | 234.5 | 7.99 | -8.84 | 0.03 | 75
247 | U-15 | TS | 36.6893 | 106.6817 | 08.19.2022 | 10:22 | 08.20.2022 | 12:44 | 3 | [9 empty] | 08.20.2022 | 14:50 | 21.3 | 25 | 25 |  |  | 22 | 0.1 | 21.9 | 7.13 | 226.7 | 8.5 | -7.79 | 0.09 | 7.91 | [14 empty] | 21 | 13.1 | 5.04 | 233.6 | 7.95 | -9.28 | 0.04 | 45
247 | U-3 | TS | 36.6865 | 106.683 | 08.19.2022 | 10:34 | 08.20.2022 | 12:55 | 0 | [9 empty] | 08.20.2022 | 15:00 | 21.3 | 20 | 25 |  |  | 24.3 | 0.1 | 21.6 | 6.93 | 226.5 | 8.38 | -8.71 | 0.07 | 6.91 | [14 empty] | 23.3 | 12.8 | 5.09 | 231.9 | 7.86 | -9.45 | 0.02 | 39.13
247 | U-7 | TS | 36.6869 | 106.6864 | 08.19.2022 | 10:42 | 08.20.2022 | 13:05 | 0 | [9 empty] | 08.20.2022 | 15:10 | 21.3 | 20 | 25 |  |  | 25.6 | 0.1 | 21.8 | 7.06 | 226.4 | 8.47 | -8.44 | 0.06 | 7.17 | [14 empty] | 24.6 | 12.8 | 5.12 | 233.4 | 7.9 | -9.45 | 0 | 49.11
247 | U-11 | TS | 36.6881 | 106.6874 | 08.19.2022 | 10:50 | 08.20.2022 | 13:17 | 3 | [9 empty] | 08.20.2022 | 15:22 | 21.3 | 25 | 25 |  |  | 14.8 | 0.1 | 21.8 | 7.07 | 226.7 | 8.47 | -8.96 | 0.03 | 7.18 | [14 empty] | 13.8 | 15.6 | 4.99 | 226.5 | 7.87 | -7.34 | 0.21 | 210.13
247 | U-8 | TS | 36.6778 | 106.6934 | 08.19.2022 | 11:04 | 08.20.2022 | 13:32 | 2 | [9 empty] | 08.20.2022 | 15:37 | 21.6 | 25 | 25 |  |  | 15.4 | 0.1 | 22.1 | 7.22 | 229 | 8.52 | -8.63 | 0.05 | 6.42 | [14 empty] | 14.4 | 14.7 | 5.28 | 227.5 | 7.88 | -9.96 | -0.01 | 14.24
247 | U-6 | TS | 36.6756 | 106.7003 | 08.19.2022 | 11:24 | 08.20.2022 | 10:48 | 0 | [9 empty] | 08.20.2022 | 17:21 | 21.7 | 25 | 25 |  |  | 28.3 | 0.1 | 22.3 | 7.2 | 228 | 8.53 | -8.77 | 0.06 | 6.85 | [14 empty] | 27.3 | 12.5 | 4.97 | 231.9 | 7.77 | -9.44 | -0.03 | 36.85
Note on BE10: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: verify on hard copy

## data.dictionary
Field | Description | Format
lake.id | unique identifier for each reservoir | numeric (no letters or dash)
site.id | unique identifier for each sampling site within a reservoir | numeric (no letters or dash)
eval.status | status of each evaluated sampling site | two digit alphabetic code: 'TS': target sampled 'NS': Target, not sampled. Site not sampled due to resource constraints (ran out of time) 'PI': Physically inaccessible
lat | sampling site latitude | 8 digit numeric (xx.xxxxxx)
long | sampling site longitude | 8 digit numeric (xx.xxxxxx)
trap.deply.date | date of trap deployment | mm.dd.yyyy
trap.deply.time | time of trap deployment | military time (hh:mm)
trap.rtrvl.date | date of trap retrieval | mm.dd.yyyy
trap.rtrvl.time | time of trap retrieval | military time (hh:mm)
trap.volume | total volume of gas recovered from trap | mL
trap.volume.flag | >' if gas was lost during sampling and total volume is an underestimate. '<' if volume was below recorded graduation (e.g. < 1mL). Otherwise blank | > or <
trap.extn1 | code for first exetainer collected from trap | eight digit alphanumeric code (SG200185)
trap.extn1.notes | field notes
trap.extn2 | code for second exetainer collected from trap | eight digit alphanumeric code (SG200185)
trap.extn2.notes | field notes
trap.extn3 | code for third exetainer collected from trap | eight digit alphanumeric code (SG200185)
trap.extn3.notes | field notes
trap.flag | 1 if there was a problem, blank if no problem. | numeric
trap.comment | any relevant comments from field sheets
chamb.deply.date | floating chamber deployment date | mm.dd.yyyy
chamb.deply.time | floating chamber deployment time | military time (hh:mm)
chamb.water.temp | if shallow sonde measurements were not made when chamber was deployed, then enter water temperature from F3, otherwise blank | numeric (celcius)
chamb.grad.a | field crew recorded chamber graduations on both ends of chamber. Enter the first value here. | numeric
chamb.grad.b | field crew recorded chamber graduations on both ends of chamber. Enter the second value here. | numeric
chamb.flag | 1 if there was a problem, blank if no problem. | numeric
chamb.comment | any relevant comments from field sheets
site.depth | total depth at sampling site | numeric (meters)
sample.depth.s | shallow sampling depth. Nearly always 0.1 | numeric (meters)
temp.s | shallow water temperature | numeric (celcius)
do.mg.s | shallow dissolved oxygen | numeric (mg/L)
sp.cond.s | shallow specific conductivity | numeric (us/cm)
ph.s | shallow pH | numeric
chl.s | shallow chlorophyll | numeric (ug/L)
phyc.s | shallow phycocyanin | numeric (ug/L)
turb.s | shallow turbidity | numeric (NTU)
temp.s.flag | shallow water temperature flag. 1 if there was a problem, blank if no problem.
do.mg.s.flag | shallow dissolved oxygen flag. 1 if there was a problem, blank if no problem.
sp.cond.s.flag | shallow specific conductivity flag. 1 if there was a problem, blank if no problem.
ph.s.flag | shallow pH flag. 1 if there was a problem, blank if no problem.
chl.s.flag | shallow chlorophyll flag. 1 if there was a problem, blank if no problem.
phyc.s.flag | shallow phycocyanin flag. 1 if there was a problem, blank if no problem.
turb.s.flag | shallow turbidity flag. 1 if there was a problem, blank if no problem.
temp.s.comment | any relevant comments from field and/or calibration data sheets
do.mg.s.comment | any relevant comments from field and/or calibration data sheets
sp.cond.s.comment | any relevant comments from field and/or calibration data sheets
ph.s.comment | any relevant comments from field and/or calibration data sheets
chl.s.comment | any relevant comments from field and/or calibration data sheets
phyc.s.comment | any relevant comments from field and/or calibration data sheets
turb.s.comment | any relevant comments from field and/or calibration data sheets
sample.depth.d | deep sampling depth. | numeric (meters)
temp.d | deep water temperature | numeric (celcius)
do.mg.d | deep dissolved oxygen | numeric (mg/L)
sp.cond.d | deep specific conductivity | numeric (us/cm)
ph.d | deep pH | numeric
chl.d | deep chlorophyll | numeric (ug/L)
phyc.d | deep phycocyanin | numeric (ug/L)
turb.d | deep turbidity | numeric (NTU)
temp.d.flag | deep water temperature flag. 1 if there was a problem, blank if no problem.
do.mg.d.flag | deep dissolved oxygen flag. 1 if there was a problem, blank if no problem.
sp.cond.d.flag | deep specific conductivity flag. 1 if there was a problem, blank if no problem.
ph.d.flag | deep pH flag. 1 if there was a problem, blank if no problem.
chl.d.flag | deep chlorophyll flag. 1 if there was a problem, blank if no problem.
phyc.d.flag | deep phycocyanin flag. 1 if there was a problem, blank if no problem.
turb.d.flag | deep turbidity flag. 1 if there was a problem, blank if no problem.
temp.d.comment | any relevant comments from field and/or calibration data sheets
do.mg.d.comment | any relevant comments from field and/or calibration data sheets
sp.cond.d.comment | any relevant comments from field and/or calibration data sheets
ph.d.comment | any relevant comments from field and/or calibration data sheets
chl.d.comment | any relevant comments from field and/or calibration data sheets
phyc.d.comment | any relevant comments from field and/or calibration data sheets
turb.d.comment | any relevant comments from field and/or calibration data sheets
air.extn.1 | code for first air exetainer | eight digit alphanumeric code (SG200185)
air.extn.2 | code for second air exetainer | eight digit alphanumeric code (SG200185)
air.extn.3 | code for third air exetainer | eight digit alphanumeric code (SG200185)
ch4.check | ch4 concentration recorded after standard flow through analyzer for 1 minute. First cal check entered in first row. Additional cal checks entered in subsequent rows (only one row populated per cal check) | numeric
co2.check | co2 concentration recorded after standard flow through analyzer for 1 minute. First cal check entered in first row. Additional cal checks entered in subsequent rows (only one row populated per cal check) | numeric
ch4.co2.check.date | date of greenhouse gas analyzer cal check | mm.dd.yyyy
ch4.co2.check.start.time | time greenhouse gas analyzer cal check started | military time (hh:mm)

## dissolved.gas
F12
lake.id | site.id | sample.depth.m | dg.extn | dg.extn.temp | dg.notes | water.vol | air.vol | atm.pressure | air.temperature
247 | U-6 | 0.1 | SG220905 | 19.6 |  | 115 | 25 | 592.2 | 15
247 | U-6 | 0.1 | SG220906 | 19.5 |  | 115 | 25 | 592.2 | 15
247 | U-6 | 0.1 | SG220907 | 19.7 |  | 115 | 25 | 592.2 | 15
247 | U-6 | 27.8 | SG220908 | 14.1 |  | 115 | 25 | 592.2 | 15
247 | U-6 | 27.8 | SG220909 | 14.3 |  | 115 | 25 | 592.2 | 15
247 | U-6 | 27.8 | SG220910 | 14.5 |  | 115 | 25 | 592.2 | 15

## dissolved.gas.dictionay
Field | Description | Format
lake.id | unique identifier for each reservoir | three digit numeric code
site.id | unique identifier for each sampling site within a reservoir | one or two letters, dash, two numeric digits (i.e. SU-12)
sample.depth.m | dissolved gas sampling depth | numeric (m)
dg.extn | dissolved gas exetainer code | eight digit alphanumeric code (SG200185)
dg.extn.temp | headspace equilibration temperature | numeric (celcius)
dg.notes | field notes
water.vol | water volume for headspace equilibration. 115 unless stated otherwise | numeric (mL)
air.vol | air volume for headspace equilibration. 25 unless stated otherwise | numeric (mL)
atm.pressure | atmospheric pressure | numeric (mm Hg)