## data
F1 |  |  | F2 | [15 empty] | F3 | [6 empty] | F5 | [44 empty] | F7 |  |  | F12
lake.id | site.id | eval.status | lat | long | trap.deply.date | trap.deply.time | trap.rtrvl.date | trap.rtrvl.time | trap.volume | trap.volume.flag | trap.extn1 | trap.extn1.notes | trap.extn2 | trap.extn2.notes | trap.extn3 | trap.extn3.notes | trap.flag | trap.comment | chamb.deply.date | chamb.deply.time | chamb.water.temp | chamb.grad.a | chamb.grad.b | chamb.flag | chamb.comment | site.depth | sample.depth.s | temp.s | do.mg.s | sp.cond.s | ph.s | chl.s | phyc.s | turb.s | temp.s.flag | do.mg.s.flag | sp.cond.s.flag | ph.s.flag | chl.s.flag | phyc.s.flag | turb.s.flag | temp.s.comment | do.mg.s.comment | sp.cond.s.comment | ph.s.comment | chl.s.comment | phyc.s.comment | turb.s.comment | sample.depth.d | temp.d | do.mg.d | sp.cond.d | ph.d | chl.d | phyc.d | turb.d | temp.d.flag | do.mg.d.flag | sp.cond.d.flag | ph.d.flag | chl.d.flag | phyc.d.flag | turb.d.flag | temp.d.comment | do.mg.d.comment | sp.cond.d.comment | ph.d.comment | chl.d.comment | phyc.d.comment | turb.d.comment | air.extn.1 | air.extn.2 | air.extn.3 | ch4.check | co2.check | ch4.co2.check.date | ch4.co2.check.start.time
1000 | S-33 | TS | 18.3393 | 66.0425 | 10.24.2023 | 11:47 | 10.26.2023 | 10:53 | 50 |  | SG230810 |  | SG230520 | [5 empty] | 10.24.2023 | 11:45 | 31.3 | 24 | 25 |  |  | 1.86 | 0.1 | 30.51 | 7.99 | 0.276 | 11.04 | 13.2 |  | -5.9 |  |  |  | 1 |  |  | 1 |  |  |  | Unusually high values |  | No phycocyanin probe | Possibly damaged sensor | [11 empty] | 1 |  |  | 1 |  |  |  | Unusually high values |  | No phycocyanin probe | Possibly damaged sensor | SG230641 | SG230642 | SG230643 | 2.0728 | 406.55 | 10.24.2023 | 17:47
1000 | S-34 | TS | 18.3391 | 66.0426 | 10.24.2023 | 11:56 | 10.26.2023 | 10:40 | 160 |  | SG230525 |  | SG230513 |  | SG230510 |  |  |  | 10.24.2023 | 11:54 | 31.3 | 24 | 25 |  |  | 2.6 | 0.1 | 30.8 | 8.28 | 0.278 | 11.01 | 2.8 |  | -7.2 |  |  |  | 1 |  |  | 1 | [7 empty] | 2.1 | 30.56 | 7.85 | 278 | 11.03 | 4.5 |  | -7.3 |  |  |  | 1 |  |  | 1 | [10 empty] | 2.072 | 404.87 | 10.25.2023 | 15:43
1000 | S-35 | TS | 18.3393 | 66.0435 | 10.24.2023 | 12:16 | 10.26.2023 | 10:30 | 500 |  | SG230518 |  | SG230509 |  | SG230523 |  |  |  | 10.24.2023 | 12:19 | 31.4 | 25 | 27 |  |  | 4.63 | 0.1 | 30.74 | 8.27 | 0.279 | 11 | 4.4 |  | -7.3 |  |  |  | 1 |  |  | 1 | [7 empty] | 3.6 | 29.68 | 6.43 | 278 | 11.05 | 3.1 |  | -7.2 |  |  |  | 1 |  |  | 1 | [10 empty] | 2.0756 | 407.5 | 10.27.2023 | 11:10
1000 | S-19 | TS | 18.3397 | 66.0438 | 10.24.2023 | 12:43 | 10.25.2023 | 10:58 | 170 |  | SG230490 |  | SG230491 |  | SG230492 |  |  |  | 10.24.2023 | 12:45 | 31.4 | 23 | 26 |  |  | 5.36 | 0.1 | 30.75 | 7.66 | 0.279 | 10.85 | 2.8 |  | -7.2 |  |  |  | 1 |  |  | 1 | [7 empty] | 4.36 | 29.51 | 6.62 | 279 | 10.97 | 2.3 |  | -7.2 |  |  |  | 1 |  |  | 1
1000 | S-21 | TS | 18.3412 | 66.0456 | 10.24.2023 | 13:46 | 10.26.2023 | 10:10 | 215 |  | SG230505 |  | SG230506 |  | SG230507 |  |  |  | 10.24.2023 | 13:54 | 31.7 | 25 | 23 |  |  | 9.82 | 0.1 | 30.75 | 7.91 | 0.278 | 11.08 | 10.9 |  | -7.3 |  |  |  | 1 |  |  | 1 | [7 empty] | 8.82 | 27.04 | 1.18 | 397 | 11.22 | 16.1 |  | -7.1 |  |  |  | 1 |  |  | 1
1000 | S-20 | TS | 18.3409 | 66.047 | 10.24.2023 | 14:10 | 10.26.2023 | 9:40 | 120 |  | SG230502 |  | SG230503 |  | SG230504 |  |  |  | 10.24.2023 | 14:17 | 31.2 | 23 | 30 |  |  | 5.36 | 0.1 | 30.42 | 6.71 | 0.28 | 14.9 | 36.8 |  | -7.1 |  |  |  | 1 |  |  | 1 | [7 empty] | 4.36 | 29.53 | 3.6 | 279 | 17.56 | 3.2 |  | -7.2 |  |  |  | 1 |  |  | 1
1000 | S-22 | TS | 18.3426 | 66.0468 | 10.24.2023 | 14:39 | 10.26.2023 | 11:13 | 185 |  | SG230511 |  | SG230515 |  | SG230800 |  |  |  | 10.24.2023 | 14:33 | 32.1 | 23 | 27 |  |  | 7.6 | 0.1 | 30.98 | 8.42 | 0.278 | 11 | 2.6 |  | -7.2 |  |  |  | 1 |  |  | 1 | [7 empty] | 6.6 | 28.28 | 0.66 | 348 | 11.15 | 19.9 |  | -7.3 |  |  |  | 1 |  |  | 1
1000 | S-08 | TS | 18.342 | 66.0487 | 10.24.2023 | 14:59 | 10.26.2023 | 11:30 | 45 |  | SG230517 |  | SG230807 | [5 empty] | 10.24.2023 | 15:06 | 30.9 | 25 | 20 |  |  | 6.3 | 0.1 | 30.32 | 6.69 | 0.277 | 11.12 | 4.5 |  | -5.9 |  |  |  | 1 |  |  | 1 | [7 empty] | 5.3 | 29.31 | 0.32 | 288 | 11.56 | 200 |  | 67.8 |  |  |  | 1 | 1 |  | 1 |  |  |  |  | Most likely a typographical error
1000 | S-04 | TS | 18.3415 | 66.0487 | 10.24.2023 | 15:30 | 10.25.2023 | 11:20 | 58 |  | SG230493 |  | SG230494 | [5 empty] | 10.24.2023 | 15:27 | 31.1 | 20 | 27 |  |  | 12.45 | 0.1 | 30.54 | 6.82 | 0.278 | 11.16 | 3 |  | -7.2 |  |  |  | 1 |  |  | 1 | [7 empty] | 11.45 | 26 | 0.45 | 428 | 11.28 | 10.3 |  | -7 |  |  |  | 1 |  |  | 1
1000 | S-05 | TS | 18.3452 | 66.0469 | 10.24.2023 | 15:50 | 10.25.2023 | 12:03 | 85 |  | SG230495 |  | SG230496 |  | SG230497 |  |  |  | 10.24.2023 | 15:59 | 31.2 | 20 | 25 |  |  | 4.7 | 0.1 | 30.89 | 6.71 | 0.274 | 11.06 | 6 |  | -7.2 |  |  |  | 1 |  |  | 1 | [7 empty] | 4.2 | 29.58 | 2.29 | 283 | 11.08 | 3.1 |  | -7.2 |  |  |  | 1 |  |  | 1
1000 | S-01 | TS | 18.3446 | 66.0475 | 10.24.2023 | 16:10 | 10.25.2023 | 12:17 | 150 |  | SG230498 |  | SG230499 |  | SG230500 |  |  |  | 10.24.2023 | 16:16 | 31 | 23 | 25 |  |  | 5.45 | 0.1 | 30.69 | 6.79 | 0.274 | 11.65 | 5.6 |  | -7.2 |  |  |  | 1 |  |  | 1 | [7 empty] | 4.42 | 29.51 | 1.13 | 283 | 11.13 | 1.6 |  | -7.1 |  |  |  | 1 |  |  | 1
1000 | S-06 | TS | 18.3425 | 66.0491 | 10.24.2023 | 16:54 | 10.26.2023 | 11:50 | 75 |  | SG230521 |  | SG230795 |  | SG230508 |  |  |  | 10.24.2023 | 17:03 | 31.1 | 20 | 25 |  |  | 7.4 | 0.1 | 30.44 | 6.9 | 0.278 | 11.16 | 2.8 |  | -7.1 |  |  |  | 1 |  |  | 1 | [7 empty] | 6.4 | 29.07 | 0.76 | 327 | 11.12 | 18.9 |  | -7.2 |  |  |  | 1 |  |  | 1
1000 | S-03 | TS | 18.3419 | 66.0494 | 10.24.2023 | 17:19 | 10.27.2023 | 9:00 | 25 | > | SG230634 | After extracting the first 25mL, valve did not fully close and the gas escaped. | [6 empty] | 10.27.2023 | 10:10 | 30 | 23 | 25 |  |  | 13.6 | 0.1 | 30.43 | 6.91 | 0.278 | 11.23 | 2.5 |  | -7.2 |  |  |  | 1 |  |  | 1 | [7 empty] | 12.6 | 25.93 | 1.39 | 445 | 11.25 | 12.5 |  | -7 |  |  |  | 1 |  |  | 1
1000 | S-07 | TS | 18.3418 | 66.0498 | 10.25.2023 | 11:34 | 10.27.2023 | 9:10 | 175 |  | SG230635 |  | SG230636 |  | SG230637 |  |  |  | 10.27.2023 | 10:50 | 30.3 | 27 | 23 |  |  | 13.5 | 0.1 | 29.28 | 3.94 | 0.28 | 20.81 | 4.3 |  | -6.6 |  |  |  | 1 |  |  | 1 | [7 empty] | 12.05 | 25.99 | 0.61 | 443 | 20.82 | 12.6 |  | -7 |  |  |  | 1 |  |  | 1
1000 | S-02 | TS | 18.3425 | 66.0499 | 10.25.2023 | 11:48 | 10.27.2023 | 9:20 | 165 |  | SG230638 |  | SG230639 |  | SG230640 |  |  |  | 10.27.2023 | 10:28 | 30.2 | 23 | 27 |  |  | 9.28 | 0.1 | 29.41 | 5 | 0.279 | 21.09 | 6.7 |  | -7.1 |  |  |  | 1 |  |  | 1 | [7 empty] | 8.28 | 27.56 | 0.68 | 352 | 21.14 | 13.5 |  | -7.1 |  |  |  | 1 |  |  | 1

## data.dictionary
Field | Description | Format
lake.id | unique identifier for each reservoir | numeric (no letters or dash)
site.id | unique identifier for each sampling site within a reservoir | numeric (no letters or dash)
eval.status | status of each evaluated sampling site | two digit alphabetic code: 'TS': target sampled 'NS': Target, not sampled. Site not sampled due to resource constraints (ran out of time) 'PI': Physically inaccessible
lat | sampling site latitude | 8 digit numeric (xx.xxxxxx)
long | sampling site longitude | 8 digit numeric (xx.xxxxxx)
trap.deply.date | date of trap deployment | mm.dd.yyyy
trap.deply.time | time of trap deployment | military time (hh:mm)
trap.rtrvl.date | date of trap retrieval | mm.dd.yyyy
trap.rtrvl.time | time of trap retrieval | military time (hh:mm)
trap.volume | total volume of gas recovered from trap | mL
trap.volume.flag | >' if gas was lost during sampling and total volume is an underestimate. '<' if volume was below recorded graduation (e.g. < 1mL). Otherwise blank | > or <
trap.extn1 | code for first exetainer collected from trap | eight digit alphanumeric code (SG200185)
trap.extn1.notes | field notes
trap.extn2 | code for second exetainer collected from trap | eight digit alphanumeric code (SG200185)
trap.extn2.notes | field notes
trap.extn3 | code for third exetainer collected from trap | eight digit alphanumeric code (SG200185)
trap.extn3.notes | field notes
trap.flag | 1 if there was a problem, blank if no problem. | numeric
trap.comment | any relevant comments from field sheets
chamb.deply.date | floating chamber deployment date | mm.dd.yyyy
chamb.deply.time | floating chamber deployment time | military time (hh:mm)
chamb.water.temp | if shallow sonde measurements were not made when chamber was deployed, then enter water temperature from F3, otherwise blank | numeric (celcius)
chamb.grad.a | field crew recorded chamber graduations on both ends of chamber. Enter the first value here. | numeric
chamb.grad.b | field crew recorded chamber graduations on both ends of chamber. Enter the second value here. | numeric
chamb.flag | 1 if there was a problem, blank if no problem. | numeric
chamb.comment | any relevant comments from field sheets
site.depth | total depth at sampling site | numeric (meters)
sample.depth.s | shallow sampling depth. Nearly always 0.1 | numeric (meters)
temp.s | shallow water temperature | numeric (celcius)
do.mg.s | shallow dissolved oxygen | numeric (mg/L)
sp.cond.s | shallow specific conductivity | numeric (us/cm)
ph.s | shallow pH | numeric
chl.s | shallow chlorophyll | numeric (ug/L)
phyc.s | shallow phycocyanin | numeric (ug/L)
turb.s | shallow turbidity | numeric (NTU)
temp.s.flag | shallow water temperature flag. 1 if there was a problem, blank if no problem.
do.mg.s.flag | shallow dissolved oxygen flag. 1 if there was a problem, blank if no problem.
sp.cond.s.flag | shallow specific conductivity flag. 1 if there was a problem, blank if no problem.
ph.s.flag | shallow pH flag. 1 if there was a problem, blank if no problem.
chl.s.flag | shallow chlorophyll flag. 1 if there was a problem, blank if no problem.
phyc.s.flag | shallow phycocyanin flag. 1 if there was a problem, blank if no problem.
turb.s.flag | shallow turbidity flag. 1 if there was a problem, blank if no problem.
temp.s.comment | any relevant comments from field and/or calibration data sheets
do.mg.s.comment | any relevant comments from field and/or calibration data sheets
sp.cond.s.comment | any relevant comments from field and/or calibration data sheets
ph.s.comment | any relevant comments from field and/or calibration data sheets
chl.s.comment | any relevant comments from field and/or calibration data sheets
phyc.s.comment | any relevant comments from field and/or calibration data sheets
turb.s.comment | any relevant comments from field and/or calibration data sheets
sample.depth.d | deep sampling depth. | numeric (meters)
temp.d | deep water temperature | numeric (celcius)
do.mg.d | deep dissolved oxygen | numeric (mg/L)
sp.cond.d | deep specific conductivity | numeric (us/cm)
ph.d | deep pH | numeric
chl.d | deep chlorophyll | numeric (ug/L)
phyc.d | deep phycocyanin | numeric (ug/L)
turb.d | deep turbidity | numeric (NTU)
temp.d.flag | deep water temperature flag. 1 if there was a problem, blank if no problem.
do.mg.d.flag | deep dissolved oxygen flag. 1 if there was a problem, blank if no problem.
sp.cond.d.flag | deep specific conductivity flag. 1 if there was a problem, blank if no problem.
ph.d.flag | deep pH flag. 1 if there was a problem, blank if no problem.
chl.d.flag | deep chlorophyll flag. 1 if there was a problem, blank if no problem.
phyc.d.flag | deep phycocyanin flag. 1 if there was a problem, blank if no problem.
turb.d.flag | deep turbidity flag. 1 if there was a problem, blank if no problem.
temp.d.comment | any relevant comments from field and/or calibration data sheets
do.mg.d.comment | any relevant comments from field and/or calibration data sheets
sp.cond.d.comment | any relevant comments from field and/or calibration data sheets
ph.d.comment | any relevant comments from field and/or calibration data sheets
chl.d.comment | any relevant comments from field and/or calibration data sheets
phyc.d.comment | any relevant comments from field and/or calibration data sheets
turb.d.comment | any relevant comments from field and/or calibration data sheets
air.extn.1 | code for first air exetainer | eight digit alphanumeric code (SG200185)
air.extn.2 | code for second air exetainer | eight digit alphanumeric code (SG200185)
air.extn.3 | code for third air exetainer | eight digit alphanumeric code (SG200185)
ch4.check | ch4 concentration recorded after standard flow through analyzer for 1 minute. First cal check entered in first row. Additional cal checks entered in subsequent rows (only one row populated per cal check) | numeric
co2.check | co2 concentration recorded after standard flow through analyzer for 1 minute. First cal check entered in first row. Additional cal checks entered in subsequent rows (only one row populated per cal check) | numeric
ch4.co2.check.date | date of greenhouse gas analyzer cal check | mm.dd.yyyy
ch4.co2.check.start.time | time greenhouse gas analyzer cal check started | military time (hh:mm)

## dissolved.gas
F12
lake.id | site.id | sample.depth.m | dg.extn | dg.extn.temp | dg.notes | water.vol | air.vol | atm.pressure | air.temperature
1000 | S-03 | 0.1 | SG230644 | 31.2 |  | 115 | 25 | 754.2 | 28.9
1000 | S-03 | 0.1 | SG230645 | 31.5 |  | 115 | 25 | 754.2 | 28.9
1000 | S-03 | 0.1 | SG230646 | 30.1 |  | 115 | 25 | 754.2 | 28.9
1000 | S-03 | 12.6 | SG230647 | 28 |  | 115 | 25 | 754.2 | 28.9
1000 | S-03 | 12.6 | SG230648 | 27.4 |  | 115 | 25 | 754.2 | 28.9
1000 | S-03 | 12.6 | SG230649 | 27.6 |  | 115 | 25 | 754.2 | 28.9

## dissolved.gas.dictionay
Field | Description | Format
lake.id | unique identifier for each reservoir | three digit numeric code
site.id | unique identifier for each sampling site within a reservoir | one or two letters, dash, two numeric digits (i.e. SU-12)
sample.depth.m | dissolved gas sampling depth | numeric (m)
dg.extn | dissolved gas exetainer code | eight digit alphanumeric code (SG200185)
dg.extn.temp | headspace equilibration temperature | numeric (celcius)
dg.notes | field notes
water.vol | water volume for headspace equilibration. 115 unless stated otherwise | numeric (mL)
air.vol | air volume for headspace equilibration. 25 unless stated otherwise | numeric (mL)
atm.pressure | atmospheric pressure | numeric (mm Hg)